## Table 1
ITEM CODE | DESCRIPTION |  |  | SIZE/CAPACITY | PRICE (each)in
RH-51-01 | Laminar Air Flow (Portable) |  |  | 45x45x45cm | 27000
Laminar Air Flow made of thick ply board covered with white sunmica and
epoxy painted inside. Workbench covered with 304 Grade S.S. Perforated
Sheet. Switches for blower and U.V. Light.
RH-55-01 | HEPA Filter |  |  | 60x60x15cm | 6000
RH-55-02 | HEPA Filter |  |  | 90x60x15cm | 9000
RH-55-03 | HEPA Filter |  |  | 120x60x15cm | 11500
RH-55-04 | Pre Filter |  |  | 55x55x5cm | 1000
RH-55-05 | Pre Filter |  |  | 85x55x5cm | 1800
RH-56 | Laminar Air Flow Workstation (VERTICAL) made of Mild Steel duly powder
coated and workbench made of 304 grade stainless steel perforated sheet.
Microprocessor control TOUCH PANEL LCD Display and digital manometer
& filter failure alarm. LED white Light and UV Light provided.
Motorized Glass Door for easy working. Micro switch for UV Light,
Cock for Gas and 15/5amp socket provided inside the chamber.
RH-56-01 | Laminar Air Flow Workstation (Vertical) Mild Steel |  |  | 60x60x60cm | 1, 75, 000.00
RH-56-02 | Laminar Air Flow Workstation (Vertical) Mild Steel |  |  | 90x60x60cm | 1, 98, 000.00
RH-56-03 | Laminar Air Flow Workstation (Vertical) Mild Steel |  |  | 120x60x60cm | 2, 25, 000.00
RH-56-04 | Laminar Air Flow Workstation (Vertical) Mild Steel |  |  | 150x60x60cm | 2, 60, 000.00
Laminar Air Flow Workstation (VERTICAL) made of 304 grade hairline finish
Stainless Steel and workbench made of 304 grade stainless steel
perforated sheet. Microprocessor control TOUCH PANEL LCD Display
and digital manometer & filter failure alarm. LED white Light and UV Light
provided. Motorized Glass Door for easy working. Micro switch for
UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-56-05 | Laminar Air Flow Workstation (Vertical) Stainless Steel |  |  | 60x60x60cm | 2, 40, 000.00
RH-56-06 | Laminar Air Flow Workstation (Vertical) Stainless Steel |  |  | 90x60x60cm | 2, 70, 000.00
RH-56-07 | Laminar Air Flow Workstation (Vertical) Stainless Steel |  |  | 120x60x60cm | 3, 10, 000.00
RH-56-08 | Laminar Air Flow Workstation (Vertical) Stainless Steel |  |  | 150x60x60cm | 3, 60, 000.00
RH-57 | Laminar Air Flow (VERTICAL) made of thick ply board covered with
White sunmica and epoxy painted inside. Workbench covered with 304
grade S.S. Perforated sheet. Switches for Blower, U.V. Light & LED light.
RH-57-01 | Laminar Air Flow (Vertical) with S.S. Workbench |  |  | 60x60x60cm | 49000
RH-57-02 | Laminar Air Flow (Vertical) with S.S. Workbench |  |  | 90x60x60cm | 58000
RH-57-03 | Laminar Air Flow (Vertical) with S.S. Workbench |  |  | 120x60x60cm | 72000
RH-57-04 | Laminar Air Flow (Vertical) with S.S. Workbench |  |  | 180x60x60cm | 92000
RH-57-05 | Exhaust System for Laminar Air Flow (Vertical) |  |  |  | 9000
Laminar Air Flow (VERTICAL) made of 304 grade S.S. Workbench covered
with 304 grade S.S. Perforated Sheet .Microprocessor control digital display
for Blower, UV Light & LED light. Digital Manometer with filter failure alarm
RH-57-06 | Laminar Air Flow (Vertical) complete S.S. |  |  | 60x60x60cm | 120000
RH-57-07 | Laminar Air Flow (Vertical) complete S.S. |  |  | 90x60x60cm | 130000
RH-57-08 | Laminar Air Flow (Vertical) complete S.S. |  |  | 120x60x60cm | 150000
RH-57-09 | Laminar Air Flow (Vertical) complete S.S. |  |  | 180x60x60cm | 200000
RH-57-10 | Laminar Air Flow IVF (In Vitro Fertilization). |  |  | 120x60x60cm | 195000
Rescholar IVF Bench Provides ISO Class 3 Air Cleanliness within the work area.
Constant temperature (37°C ± 0.4°C) at working platform with digital display.
Temperature adjustable if needed. High quality ULPA Filters.
Laminar Air Flow (VERTICAL) made of Mild Steel duly epoxy powder coated and
Workbench covered with 304 grade S.S. Perforated Sheet. Microprocessor control
digital display for Blower, UV Light & LED light. Digital Manometer with
filter failure alarm
RH-57-11 | Laminar Air Flow (Vertical) Mild Steel |  |  | 60x60x60cm | 72000
RH-57-12 | Laminar Air Flow (Vertical) Mild Steel |  |  | 90x60x60cm | 90000
RH-57-13 | Laminar Air Flow (Vertical) Mild Steel |  |  | 120x60x60cm | 110000
RH-57-14 | Laminar Air Flow (Vertical) Mild Steel |  |  | 180x60x60cm | 145000
RH-58 | Laminar Air Flow (HORIZONTAL) made of thick ply board covered with white
sunmica and epoxy painted inside. Workbench covered with 304 grade S.S. Sheet.
Laminar Flow fitted with microprocessor control digital display for Blower,
U.V. Light (with timer) & LED Light. Digital Manometer with filter failure alarm.
RH-58-01 | Laminar Air Flow (Horizontal) with S.S. Work bench, |  |  | 60x60x60cm | 55000
With microprocessor control & alarm.
RH-58-02 | Laminar Air Flow (Horizontal) with S.S. Work bench, |  |  | 90x60x60cm | 65000
With microprocessor control & alarm.
RH-58-03 | Laminar Air Flow (Horizontal) with S.S. Work bench, |  |  | 120x60x60cm | 78000
With microprocessor control & alarm.
RH-58-04 | Laminar Air Flow (Horizontal) with S.S. Work bench, |  |  | 180x60x60 cm | 110000
with microprocessor control & alarm.
Laminar Air Flow (HORIZONTAL) made of thick ply board covered with
white sunmica and epoxy painted inside. Workbench covered with 304
grade S.S. Sheet Switches for blower, fluorescent light and U.V. Light.
RH-58-05 | Laminar Air Flow (Horizontal) with S.S. Work bench |  |  | 60x60x60cm | 39500
RH-58-06 | Laminar Air Flow (Horizontal) with S.S. Work bench |  |  | 90x60x60cm | 49000
RH-58-07 | Laminar Air Flow (Horizontal) with S.S. Work bench |  |  | 120x60x60cm | 56000
RH-58-08 | Laminar Air Flow (Horizontal) with S.S. Work bench |  |  | 180x60x60cm | 77000
Laminar Air Flow (HORIZONTAL) made of 304 grade S.S. Workbench covered with
304 grade S.S. Sheet. Microprocessor control Digital Display for Blower, U.V. Light
and LED Light. Digital Manometer with filter failure alarm.
RH-58-09 | Laminar Air Flow (Horizontal) Complete S.S. |  |  | 60x60x60cm | 110000
RH-58-10 | Laminar Air Flow (Horizontal) Complete S.S. |  |  | 90x60x60cm | 130000
RH-58-11 | Laminar Air Flow (Horizontal) Complete S.S. |  |  | 120x60x60cm | 145000
RH-58-11A | Laminar Air Flow (Horizontal) Complete S.S. |  |  | 180x60x60cm | 198000
Laminar Air Flow (HORIZONTAL) made of Mild Steel duly epoxy powder coated
and Workbench covered with 304 grade S.S. Sheet. Microprocessor control
digital display for Blower, U.V. Light (with timer) and LED Light. Digital Manometer
with filter failure alarm.
RH-58-12 | Laminar Air Flow (Horizontal) Mild Steel |  |  | 60x60x60cm | 70000
RH-58-13 | Laminar Air Flow (Horizontal) Mild Steel |  |  | 90x60x60cm | 85000
RH-58-14 | Laminar Air Flow (Horizontal) Mild Steel |  |  | 120x60x60cm | 105000
RH-58-14A | Laminar Air Flow (Horizontal) Mild Steel |  |  | 180x60x60cm. | 140000
Laminar Air Flow Workstation (HORIZONTAL) made of Mild Steel duly powder coated
and workbench made of 304 grade stainless steel sheet. Microprocessor control
TOUCH PANEL LCD Display and digital manometer and filter failure alarm. LED
Light and UV Light provided. Motorized Glass Door for easy working. Micro switch
for UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-58-15 | Laminar Air Flow Workstation (Horizontal) Mild Steel |  |  | 60x60x60cm | 1, 75, 000.00
RH-58-16 | Laminar Air Flow Workstation (Horizontal) Mild Steel |  |  | 90x60x60cm | 1, 98, 000.00
RH-58-17 | Laminar Air Flow Workstation (Horizontal) Mild Steel |  |  | 120x60x60cm | 2, 25, 000.00
RH-58-18 | Laminar Air Flow Workstation (Horizontal) Mild Steel |  |  | 150x60x60cm | 2, 60, 000.00
Laminar Air Flow Workstation (HORIZONTAL) made of 304 Grade hairline finish S.S.
and workbench made of 304 grade stainless steel sheet. Microprocessor control
TOUCH PANEL LCD Display and digital manometer & filter failure alarm. LED Light
and UV Light provided. Motorized Glass Door for easy working. Micro switch for
UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-58-19 | Laminar Air Flow Workstation (Horizontal) Stainless Steel |  |  | 60x60x60cm | 2, 40, 000.00
RH-58-20 | Laminar Air Flow Workstation (Horizontal) Stainless Steel |  |  | 90x60x60cm | 2, 70, 000.00
RH-58-21 | Laminar Air Flow Workstation (Horizontal) Stainless Steel |  |  | 120x60x60cm | 3, 10, 000.00
RH-58-22 | Laminar Air Flow Workstation (Horizontal) Stainless Steel |  |  | 150x60x60cm | 3, 60, 000.00
RH-59 | Biosafe Cabinet made of thick ply board covered with sunmica and epoxy painted
inside. Fitted with HEPA Filter, UV light and Fluorescent light. 70% Air recirculate &
30% Air Exhaust. Fitted with Virus Burnout unit. Switches for Blower, UV & LED Light.
RH-59-01 | Biosafe Cabinet (Wooden), Class II, A-2 |  |  | 60x60x60cm | 60000
RH-59-02 | Biosafe Cabinet (Wooden), Class II, A-2 |  |  | 90x60x60cm | 80000
RH-59-03 | Biosafe Cabinet (Wooden), Class II, A-2 |  |  | 120x60x60cm | 90000
RH-59-04 | *Steriflow Portable Laminar Air Flow for Field use |  |  |  | 15000
Biosafe Cabinet (A-2) made of Mild Steel duly epoxy powder coated. Fitted with
HEPA Filter, UV light and LED light. 70% Air recirculate & 30% Air Exhaust. Fitted
with Virus Burnout unit. Microprocessor Control Digital Display for Blower,
U.V. Light & LED light. Digital Manometer with Filter Failure Alarm.
RH-59-05 | Biosafe Cabinet (Mild Steel), Class II, A-2 |  |  | 60x60x60cm | 100000
RH-59-06 | Biosafe Cabinet (Mild Steel), Class II, A-2 |  |  | 90x60x60cm | 115000
RH-59-07 | Biosafe Cabinet (Mild Steel) Class II, A-2 |  |  | 120x60x60cm | 150000
Biosafe Cabinet (A-2) made of 304 grade Stainless Steel. Fitted with HEPA Filter,
UV light and LED light. 70% Air recirculate& 30% Air Exhaust. Fitted with Virus
Burnout unit. Microprocessor Control Digital Display for Blower, U.V. Light &
LED light. Digital Manometer with Filter Failure Alarm.
RH-59-08 | Biosafe Cabinet (Stainless Steel), Class II, A-2 |  |  | 60x60x60cm | 145000
RH-59-09 | Biosafe Cabinet(Stainless Steel), Class II, A-2 |  |  | 90x60x60cm | 155000
RH-59-10 | Biosafe Cabinet (Stainless Steel), Class II, A-2 |  |  | 120x60x60cm | 180000
RH-59-11 | Biosafe Cabinet (Mild Steel) Class II, B-2 |  |  | 90x60x60cm | 145000
RH-59-12 | Biosafe Cabinet (Mild Steel) Class II, B-2 |  |  | 120x60x60cm | 170000
RH-59-13 | Biosafe Cabinet (Mild Steel) Class II, B-2 |  |  | 150x60x60cm | 210000
Biosafe Cabinet (B-2) made of 304 grade Stainless Steel. Fitted with Hepa Filter,
UV light and Fluorescent Light.100% air Exhaust. Fitted with Virus Burnout unit.
Microprocessor Control Digital Display for Blower, U.V. Light & LED light.
Digital Manometer with Filter Failure Alarm.
RH-59-14 | Biosafe Cabinet (Stainless Steel) Class II, B-2 |  |  | 90X60X60cm | 185000
RH-59-15 | Biosafe Cabinet (Stainless Steel) Class II, B-2 |  |  | 120X60X60cm | 215000
RH-59-16 | Biosafe Cabinet (Stainless Steel) Class ii, B-2 |  |  | 150X60X60cm | 250000
RH-60 | Fume Hood made of S.S. 304 Grade with Granite Working Platform,
Polypropylene Sink, Water tap & Exhaust System.
RH-60-01 | Fume Hood (Stainless Steel) |  |  | 90x60x60cm | 185000
RH-60-02 | Fume Hood (Stainless Steel) |  |  | 120x60x60cm | 200000
RH-60-03 | Fume Hood (Stainless Steel) |  |  | 120x75x75cm | 250000
RH-60-04 | Fume Hood (Stainless Steel) |  |  | 150x75x75cm | 375000
Fume Hood made of Mild Steel duly epoxy powder coated with Granite
Working platform. Polypropylene Sink, Water tap & Exhaust System.
RH-60-05 | Fume Hood (Mild Steel) |  |  | 90x60x60cm | 110000
RH-60-06 | Fume Hood (Mild Steel) |  |  | 120x60x60cm | 135000
RH-60-07 | Fume Hood (Mild Steel) |  |  | 120x75x75cm | 160000
RH-60-08 | Fume Hood (Mild Steel) |  |  | 150x75x75cm | 190000
Fume Hood Made of 19mm thick Plyboard covered with sunmica &
Epoxy painted from inside. Granite working platform, Polypropylene
Sink, Water Tap & Exhaust System.
RH-60-09 | Fume Hood (Wooden with Granite Working Platform) |  |  | 90x60x60cm | 65000
RH-60-10 | Fume Hood (Wooden with Granite Working Platform) |  |  | 120x60x60cm | 79000
RH-60-11 | Fume Hood (Wooden with Granite Working Platform) |  |  | 120x75x75cm | 97000
RH-60-12 | Demonstration Fume Hood |  |  | 90x60x60cm | 92000
Fume Hood Stainless Steel
Made of 304 grade S.S. frame outside & inside covered with
polypropylene sheet. Working plateform of Black Granite with
polypropylene sink & water tap colour coded remote valve for gas line and water.
2 nos. 15/5 amp switch & socket. with digital air flow monitor and exhaust system.
RH-60-13 | Fume Hood (Stainless Steel) |  |  | 90x60x60cm | 4, 35, 000.00
RH-60-14 | Fume Hood (Stainless Steel) |  |  | 120x60x60cm | 4, 70, 000.00
RH-60-15 | Fume Hood (Stainless Steel) |  |  | 120x75x75cm | 5, 25, 000.00
RH-60-16 | Fume Hood (Stainless Steel) |  |  | 150x75x75cm | 6, 55, 000.00
Fume Hood Mild Steel
Made of Mild Steel duly powder coated from outside & inside covered with
polypropylene sheet. Working plateform of Black Granite with
polypropylene sink & water tap colour coded remote valve for gas line and water.
2 nos. 15/5 amp switch & socket. with digital air flow monitor and exhaust system.
RH-60-17 | Fume Hood (Mild Steel) |  |  | 90x60x60cm | 3, 25, 000.00
RH-60-18 | Fume Hood (Mild Steel) |  |  | 120x60x60cm | 3, 75, 000.00
RH-60-19 | Fume Hood (Mild Steel) |  |  | 120x75x75cm | 4, 00, 000.00
RH-60-20 | Fume Hood (Mild Steel) |  |  | 150x75x75cm | 4, 25, 000.00
RH-60-25 | Grossing Table Complete S.S with Exhaust |  |  | 150x75x90cm | 2, 95, 000.00
made of High gra de Stainless Steel. Continuous Air flow along entire
work area. Provided with Dictaphone, Camera holder on railing system,
magnifying glass/light magnifier with flexible arms, Document holder
forrequistion forms, literatures etc, Magnetic instrument holder, Paper
towel holder, Polythene cutting board, Mixer tap for hot and cold water,
sink with tap, Sturdy perforated insert able work plate ,Sprinkler system
with adjustable valve for bath sanitation located underneath the
perforated working plate & Drawers.
RH-60-26 | Pass Box (Dynamic) |  |  | 60x60x60cm | P.O.R.
RH-60-27 | Pass Box (Static) |  |  | 60x60x60cm | P.O.R.
S.S. Scoop Open Type Made of S.S. 316 grade. Mirror finish.
RH-60-30 | S.S. Scoop |  |  | 250gm | 1950
RH-60-31 | S.S. Scoop |  |  | 500gm | 2150
RH-60-32 | S.S. Scoop |  |  | 1000gm | 2900
RH-60-33 | S.S. Scoop |  |  | 2000gm | 4700
S.S. Scoop Closed Type Made of S.S. 316 grade. Mirror finish.
RH-60-34 | S.S. Scoop |  |  | 250gm | 2142
RH-60-35 | S.S. Scoop |  |  | 500gm | 2570
RH-60-36 | S.S. Scoop |  |  | 1000gm | 3420
RH-60-37 | S.S. Scoop |  |  | 2000gm | 5100
RI-61-01 | Insect Storage Box |  |  | 53x45x9cm | 2300
RI-61-02 | Insect Storage Box |  |  | 45x30x7.5cm | 1550
RI-61-03 | Insect Storage Box |  |  | 38x25x7.5cm | 1200
RI-61-04 | Insect Storage Box |  |  | 30x23x7.5cm | 900
RI-62-01 | Insect Display & Storage Showcase |  |  | 53x45x9cm | 2300
RI-62-02 | Insect Display & Storage Showcase |  |  | 45x30x6.5cm | 1550
RI-62-03 | Insect Display & Storage Showcase |  |  | 38x25x6.5cm | 1200
RI-62-04 | Insect Display & Storage Showcase |  |  | 30x23x6.5cm | 900
RI-63-01 | Insect Display Showcase (Wall Hanging) |  |  | 90x60x11cm | 6000
RI-64-01 | Insect Showcase Cabinet (Small) |  |  | 6 Showcases | 14000
RI-64-02 | Insect Showcase Cabinet (Small) |  |  | 12 Showcases | 27500
RI-64-03 | Insect Showcase Cabinet (Small) |  |  | 24 Showcases | 55000
RI-64-04 | Insect Showcase Cabinet, M.S. Powder Coated (Small) |  |  | 10 Showcases | 29000
RI-64-05 | Insect Showcase Cabinet, M.S. Powder Coated (Small) |  |  | 20 Showcases | 57000
RI-65-01 | Insect Showcase Cabinet (Large) |  |  | 12 Drawers | 34000
RI-65-02 | Insect Showcase Cabinet (Large) |  |  | 24 Drawers | 62000
RI-65-03 | Mobile Insect Storage System (Size 45x30x6.5cm.) |  |  | 240 Showcases | 9, 75,000.00
RI-65-04 | Mobile Insect Storage System (Size 53x45x7.5cm.) |  |  | 240 Drawers | 11, 60,000.00
RI-66-01 | Insect Box with Stretching Strips |  |  | 43x30x11cm | 3500
RI-67-01 | Insect Stretching Board (Adjustable) |  |  |  | 500
RI-68-01 | Insect Activity Recorder |  |  |  | 295000
RI-68-02 | Insect Growth Chamber |  |  | 54x65x75cm | 398000
RI-68-03 | Insect Growth Chamber |  |  | 3 Chambers | P.O.R.
RI-69-01 | Insect Collecting Net with Aluminium Handle |  |  |  | 425
RI-69-02 | Insect Collecting Net with Iron Handle |  |  |  | 400
RI-69-03 | Insect Collecting Net with Wooden Handle |  |  |  | 425
RI-69-04 | Spare net bags for insect Collecting Nets, Muslin/Nylon/Synth |  |  |  | 300
RI-69-05 | Insect Collecting Net, Executive, with Telescopic Handle. |  |  |  | 2500
RI-69-06 | Insect Collecting Net with Aluminium Handle & Folding Ring |  |  |  | 600
RI-69-07 | Insect Collecting Net with Aluminium Handle, Dual Purpose |  |  |  | 600
RI-69-08 | Insect Collecting Net with Iron Handle, Triangle type |  |  |  | 500
RI-70-01 | Student Plankton Net |  |  |  | 500
RI-70-02 | Zooplankton Net, with collection bottle. 60 micron mesh |  |  |  | 2500
RI-70-03 | Spare Bag for Zooplankton Net, 80/150/250 mesh size. |  |  |  | 800
RI-70-04 | Surber Stream Bottom Sampler |  |  | 30x30cm | 6000
RI-71-01 | Aquatic Net, D-Shape |  |  |  | 500
RI-71-02 | Aquatic Net, Triangle Shape |  |  |  | 750
RI-71-03 | Aquatic Net, Rectangular Shape |  |  |  | 750
RI-71-04 | Aquatic Net, Round Shape |  |  |  | 600
RI-71-05 | Telescopic Handle for Aquatic Nets |  |  |  | 2000
RI-72-01 | Field Collection Bag (with accessories) |  |  |  | 3000
RI-72-02 | Field Collection Bag, Executive (without accessories) |  |  |  | 3000
RI-72-03 | Field Collection Bag, Executive (with accessories) |  |  |  | 5000
RI-72-04 | Sorting Tray |  |  |  | 190
RI-72-05 | Teasing Needle, Straight |  |  |  | 45
RI-72-06 | Teasing Needle, Bent |  |  |  | 45
RI-72-07 | Insect Killing Jar, without chemical |  |  | 500ml | 150
RI-72-08 | Altimeter |  |  |  | 4900
RI-72-11 | Aspirator |  |  |  | 275
RI-72-12 | Insect Mailing Box, Card-board (Pack of 6) |  |  | 15x10x5cm | 750
RI-72-13 | Dissecting Tray, with Wax / EVA Pad |  |  | 30x23x5cm | 600
RI-72-14 | Dissecting Kit |  |  |  | 1000
RI-73-01 | Entomological Pins, (Imported) Black Enameled |  |  | Pkt. of 100 App. | 600
RI-73-01A | Entomological pins, (Imported), Stainless Steel |  |  | Pkt. Of 100 App. | 900
RI-73-02 | Insect Pinning Block, step type |  |  |  | 225
RI-73-03 | Entomological Pin Storage Block, round type |  |  |  | 300
RI-73-04 | Curator Block |  |  |  | 800
RI-73-05 | Pin Vice |  |  |  | 200
RI-74-01 | Insect Light Trap with Electric Bulb |  |  |  | 6500
RI-74-02 | Insect Light Trap with Electric Bulb & Battery |  |  |  | 13000
RI-74-03 | Insect Light Trap with Fluorescent Tube |  |  |  | 7000
RI-74-04 | Insect Light Trap with Fluorescent Tube & Battery |  |  |  | 13500
RI-74-05 | Insect Light Trap with U.V. Tube |  |  |  | 9500
RI-74-06 | Insect Light Trap with U.V. Tube& Battery |  |  |  | 15500
RI-74-08 | Insect Light Trap (Barles Type) |  |  |  | 3000
RI-74-09 | Light Trap for Moth with Mercury Bulb |  |  |  | 4000
RI-74-11 | Trap for Fruit Files |  |  |  | 975
RI-74-12 | Pheromon Trap |  |  | 100/Pack | 3500
RI-74-13 | Pit Fall Trap |  |  |  | 500
RI-74-14 | Yellow Sticky Pan |  |  | 10/Pack | 700
RI-74-15 | Yellow Sticky Trap |  |  | 10/Pack | 300
RI-74-16 | Light Trap, Plastic, Folding, for field use, with Bulb |  |  |  | 6000
RI-74-17 | Light trap, Plastic, Folding, for field use, with CFL Tube |  |  |  | 6000
RI-74-18 | Light Trap, Plastic, Folding, for field use, with UV Light |  |  |  | 7500
RI-74-19 | Rechargeable Battery, with charger (for Light Trap) |  |  |  | 7000
RI-74-20 | New Jersey Light Trap (Imported) |  |  |  | P.O.R.
RI-74-21 | Malaise Trap |  |  |  | 34000
RI-74-22 | Insect Light Trap Folding (Plastic) with Mercury Bulb |  |  |  | 2200
RI-75-01 | Insect Cage |  |  | 15x15x15cm | 1050
RI-75-02 | Insect Cage |  |  | 20x15x15cm | 1200
RI-75-03 | Insect Cage |  |  | 25x20x20cm | 1400
RI-75-04 | Insect Cage Folding Type |  |  | 20x20x20cm | 2200
RI-75-05 | Insect Cage |  |  | 30x30x45cm | 3000
RI-75-06 | Bio-agent Cage (Acrylic) |  |  | 30x30x30cm | 4000
RI-75-07 | Insect Cage, round Shape (Acrylic) |  |  | 45x15cm | 3900
RI-76-01 | Breeding Nest for Flies |  |  | 45x45x45cm | 5000
RI-77-01 | Brown Plant Hopper Insect Rearing Cage |  |  | 45x45x55cm | 5900
RI-77-02 | Brown Plant Hopper Insect Rearing Cage |  |  | 60x60x80cm | 15000
RI-77-03 | Green Leaf Hopper Insect Rearing Cage |  |  | 45x45x65cm | 6500
RI-77-04 | Green Leaf Hopper Insect Rearing Cage |  |  | 60x60x90cm | 16000
RI-78-01 | Rat & Mosquito Cage |  |  | 45x30x30cm | 3000
RI-78-02 | Mosquito Breeder |  |  |  | 900
RI-79-05 | Animal Cage Polypropylene with S.S. grill & Water Bottle |  |  | 43.5x29x15cm | 2400
RI-80-01 | Corcyra Cage MDF |  |  | 43x23x12cm | 600
RI-80-02 | Corcyra Cage (waterproof plywood) |  |  | 38x38x10cm | 950
RI-80-03 | Moth Breeding Cage |  |  |  | 800
ITEM CODE DESCRIPTION SIZE/CAPACITY PRICE (each)in RI-80-04 Moth Mating Chamber 900.00 RI-81-01 Breeding Nest for Chrysopa 60x30x30cm 3500.00 RI-81-02 Corcyra Egg Laying Cage 35x25x18cm 950.00 RI-84-01 Corcyra Rearing System 20000.00 RI-86-01 Box for Glass Specimen Tubes (for 50x15mm tubes) 150 1500.00 RI-86-02 Cabinet for Boxes of Specimen Tubes (for 50x15mm tubes) 6 Boxes 12,000.00 RI-86-03 Cabinet for Boxes of Specimen Tubes (for 50x15mm tubes) 12 Boxes 24000.00 RI-86-04 Specimen Tube (Glass) 50x15mm 24.00 RI-87-01 Insect Specimen Tube Box (for 75x25mm) 20 700.00 RI-87-02 Insect Specimen Tube Cabinet (for 75x25mm) 500 8,000.00 RI-87-03 Specimen Tube (Glass) 75x25mm 30.00 RI-87-04 Specimen Tube (Polycarbonate Unbreakable) 75x25mm 20.00 RI-88-01 Observation Beehive 3,000.00 RI-89-01 Magnascope (Bench Magnifier) 8500.00 RI-89-02 Graph Microscope for Drawing 30000.00 RI-90-01 Stereo Microscope with 2x & 4x 16000.00 RI-90-02 Stereo Zoom Microscope, Binocular 58000.00 RI-90-03 Stereo Zoom Microscope, Trinocular 65000.00 RI-90-04 Stereo Zoom Microscope, Binocular 39000.00 RI-90-05 Stereo Zoom Microscope, Trinocular 45000.00 RI-90-06 Stereo Zoom Microscope with HDMI Screen 260000.00 RI-90-07 Stereo Zoom Microscope with image analyzer P.O.R. RI-90-10 Advanced Stereo Zoom Microscope 370000.00
RI-88-01 RI-89-01 RI-89-02 RI-90-01 RI-90-03
RI-90-04 RI-90-06 RI-90-07 RI-90-10
RG-91-01 | Wax Block Cabinet | 5000 |  |  | 20500
RG-91-02 | Chemical Storage Cabinet |  |  |  | 298000
RG-91-03 | Laboratory Stool (Revolving) |  |  |  | 1800
RG-91-04 | Chemical / Instrument Storage Cabinet |  |  |  | 35000
RG-91-05 | Chemical Storage Cabinet with Exhaust |  |  |  | 80000
RG-92-01 | Tracer | 68x45x11.5/2.5cm |  |  | 3900
RG-93-01 | Reprint Box | 38x25x6cm |  |  | 400
RG-94-01 | Literature Cabinet | 24 Boxes |  |  | 16500
RG-94-02 | Literature Cabinet | 30 Boxes |  |  | 20000
RG-94-03 | Literature Cabinet | 36 Boxes |  |  | 23000
RG-96-01 | Museum Specimen Display Showcase | 60x40x6cm |  |  | 2400
RG-97-01 | Drawing Board with stand (Adjustable) | 81x61cm |  |  | 4500
RG-98-01 | Wooden Box for Microscope | 60x45x65cm |  |  | 6000
RG-98-02 | Wooden Box for Microscope | 90x60x75cm |  |  | 9000
RG-98-03 | Perspex Cover for Binocular Microscope | 29x24x43cm |  |  | 2400
RG-98-04 | Perspex Cover for Trinocular Microscope | 30x25x45cm |  |  | 2700
RG-98-05 | Perspex Cover for Instrument | 45x30x30cm |  |  | 3800
RG-98-06 | Perspex Cover for Instrument | 38x38x45cm |  |  | 5200
RG-98-07 | Perspex Cover for Instrument | 45x45x45cm |  |  | 7000
RG-99-01 | Student Medical, Microscope with 10 x WF eyepiece | 10x, 40x, 100x |  |  | 8000
RG-99-01A | Student Microscope, with 10x WF eyepiece | 4x, 10x, 40x |  |  | 6400
RG-99-02 | Compound Microscope, Monocular |  |  |  | 14500
RG-99-03 | Compound Microscope, Binocular |  |  |  | 18000
RG-99-04 | Compound Microscope, Trinocular |  |  |  | 24000
RG-99-05 | Coaxial Compound Microscope, Monocular |  |  |  | 24000
RG-99-06 | Coaxial Compound Microscope, Binocular |  |  |  | 27000
RG-99-07 | Coaxial Compound Microscope, Trinocular |  |  |  | 32000
RG-99-08 | Digital Eyepiece Camera 5MP with Measuring Software |  |  |  | 33000
RG-99-09 | Digital Eyepiece Camera 10 MP, with Measuring Software |  |  |  | 50000
RG-99-11 | Compound Microscope with image Analyzer |  |  |  | 690000
RG-99-12 | Compound Microscope with USB Camera, Measuring Software & PC |  |  |  | 180000
RG-99-13 | Advanced Research Compound Microscope (Binocular) |  |  |  | 64000
RG-99-14 | Advanced Research Compound Microscope (Trinocular) |  |  |  | 69000
RG-100-01 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller | 4 Cuft. |  |  | 102000
RG-100-02 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller | 6 Cuft. |  |  | 108000
RG-100-03 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller | 12 Cuft. |  |  | 125000
RG-100-04 | Deep Freezer, -20°C | 4 Cuft. |  |  | 102000
RG-100-05 | Deep Freezer, -20°C | 10 Cuft. |  |  | 118000
RG-100-06 | Ultra Low Freezer, -86°C | 6 Cuft./ 171 Ltrs. |  |  | 980000
RG-100-07 | Ultra Low Freezer, -86°C | 12 Cuft./328 Ltrs. |  |  | 1100000
RG-100-10 | Glass Bead Sterilizer | 12x14x19cm |  |  | 9800
RG-100-11 | Glass Bead Sterilizer | 15x16x25cm |  |  | 15000
RG-100-12 | Oven with S.S. Chamber & Digital Controller | 45x45x45cm |  |  | 35000
RG-100-13 | Oven with S.S. Chamber & Digital Controller | 60x60x60cm |  |  | 58000
RG-100-14 | Incubator with S.S. Chamber & Digital Controller | 45x45x45cm |  |  | 36500
RG-100-15 | Incubator with S.S. Chamber & Digital Controller | 60x60x60cm |  |  | 58500
RG-100-16 | Water Bath (Serological) with Digital Controller | 30x25x17cm |  |  | 19500
RG-100-17 | Water Bath (High Precision) with Digital Controller | 45x37x37cm |  |  | 49500
RG-100-18 | Magnetic Stirrer |  |  |  | 9500
RG-100-19 | Magnetic Stirrer with hot Plate |  |  |  | 30000
RG-100-20 | Instrument Trolley S.S. |  |  | 60x45x75cm | 19000
RG-100-21 | Digital Balance, 0.1mg |  |  | 220gm | 89000
RG-100-22 | Digital Balance, 0.001gm |  |  | 220gm | 57000
RG-100-23 | Digital Flame Photometer |  |  |  | 45000
RG-100-24 | Microprocessor Flame Photometer |  |  |  | 89500
RG-101-01 | Digital Vernier Caliper |  |  |  | 1900
RG-101-02 | pH Meter with Automatic Temperature Control |  |  |  | 9800
RG-101-02A | pH Meter Mircoprocessor Based |  |  |  | 23000
RG-101-03 | Photo Colorimeter Automatic Zero Setting |  |  |  | 10500
RG-101-04 | Conductivity Meter (Digital, auto Ranging) |  |  |  | 9800
RG-101-04A | Conductivity / TDS / Salinity Meter Mircoprocessor Based |  |  |  | 23500
RG-101-05 | Spectrophotometer Digital |  |  |  | 46000
Digital Spectrophotometer double display Range 340-960nm with
Facility for Automatic Concentration, % transmission and absorbance
measurements. Separate 3 digit LED display For wavelength in nm with
1nm wavelength resolution. Equipped with set of 10mm & 50mm
Path length cuvettes.
RG-101-06 | Spectrophotometer Visible Single Beam |  |  |  | 70000
Microprocessor Spectrophotometer Visible single beam with range
320-1020nm and facility For auto concentration, % Transmission and
absorbance measurements. 3 2 bright LCD display for data. Its sample
holder accommodates glass cuvettes of 10 to 50nm path length. Facility
has been provided for unlimited data storage and interface for any
printer through RS 232C. A set of 4 glass cuvettes of 10mm path length
is provided. With Software.
RG-101-07 | UV Visible Spectrophotometer (Single Beam) |  |  |  | 205000
Microprocessor UV-VIS Spectrophotometer Range 195 to 1000nm with
facility for automatic Concentration, % Transmission . Absorbance & K
factor measurement. Automatic wavelength calibration and Selection.
It has sample holder with 4 position selector control for 10mm path
length cuvettes. Facility has been provided for interface with any
printer USB. Set of 2 Quartz & 4 glass Cuvettes is provided with software.
RG-101-08 | UV Visible Spectrophotometer (Double Beam) |  |  |  | 460000
Double Beam Microprocessor UV-VIS Spectrophotometer Range
190-1100mnm, fully automatic Operations, automatic 8 cell changer,
bandwidth 1nm, automatic wavelength calibration and wave length
scan, automatic peak picking & spectrum display. Spectrum and data
can be printed out by printer and sent to computer via USB port.
Set of 4 quartz & 16 glass cuvettes is provided with Software.
RG-101-09 | Laboratory Table (With Reagent Rack, Sink & Tap) |  |  | 120x90cm | 72000
RG-101-10 | Laboratory Table (With Reagent Rack, Sink & Tap) |  |  | 180x120cm | 108000
RG-101-11 | Laboratory Table (With Reagent Rack, Sink & Tap) |  |  | 240x120cm | 144000
RG-105-01 | Slide Cabinet |  |  | 1000 | 4600
RG-105-02 | Slide Cabinet |  |  | 2000 | 9200
RG-105-03 | Slide Cabinet |  |  | 5000 | 18000
RG-105-04 | Slide Cabinet |  | 10000 |  | 36500
RG-105-05 | Slide Cabinet, Metal, Powder Coated |  | 5000(Stacked) |  | 16000
RG-105-06 | Slide Cabinet, Metal, Powder Coated |  | 10000 (Stacked) |  | 32000
RG-105-07 | Slide Cabinet, Metal, Powder Coated |  | 20000 (Stacked) |  | 63000
RG-105-08 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 1000 |  | 7000
RG-105-09 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 5000 |  | 28000
RG-105-10 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 10000 |  | 56000
RG-105-11 | Slide Cabinet, S.S. 304 Grade with 5 Moulded Drawers |  | 1000 |  | 12000
RG-105-12 | Slide Cabinet, S.S. 304 Grade with 25 Moulded Drawers |  | 5000 |  | 60000
RG-105-13 | Slide Cabinet, S.S. 304 Grade with 50 Moulded Drawers |  | 10000 |  | 120000
RG-106-01 | Standard Work Station for Computer |  | 120x55x75cm |  | 7000
RG-108-01 | V.D.U Table |  | 60x55x75cm |  | 4500
RG-109-02 | Laboratory Waste Collection Bin, S.S. |  | 15 Ltrs. |  | 3000
RG-109-04 | Eye Wash Station, Floor Model, Hand Operated |  |  |  | 12000
RG-109-05 | Eye Wash Station cum Body Washer |  |  |  | 19000
RD-111-01 | Combination Board (Half White & Half Green) |  |  | 120x90cm | 2800
RD-111-02 | Combination Board (Half White & Half Green) |  |  | 150x120cm | 3900
RD-111-03 | Combination Board (Half White & Half Green) |  |  | 180x120cm | 4600
RD-111-04 | Combination Board (Half White & Half Green) |  |  | 240x120cm | 5900
RD-116-01 | Exhibits Panel for Outdoor Use |  |  | 120x90cm | 4000
RD-116-02 | Exhibits Panel for Outdoor Use |  |  | 150x90cm | 4950
RD-116-03 | Exhibits Panel for Outdoor Use |  |  | 180x90cm | 6000
RD-116-04 | Multiple Exhibits Panel for Outdoor Use |  |  | 60x90cmx3 | 6000
RD-116-05 | Multiple Exhibits Panel for Outdoor Use |  |  | 60x90cmx4 | 7200
RD-116-06 | Multiple Exhibits Panel for Outdoor Use |  |  | 90x120cmx3 | 9000
RD-117-01 | Exhibits Panel for indoor Use |  |  | 60x45cm | 600
RD-117-02 | Exhibits Panel for indoor Use |  |  | 90x60cm | 1000
RD-117-03 | Exhibits Panel for indoor Use |  |  | 120x60cm | 1300
RD-117-04 | Exhibits Panel for indoor Use |  |  | 120x90cm | 2000
RD-117-05 | Exhibits Panel for indoor Use |  |  | 150x90cm | 2650
RD-117-06 | Exhibits Panel for indoor Use |  |  | 150x120cm | 3300
RD-117-07 | Exhibits Panel for indoor Use |  |  | 180x90cm | 3200
RD-117-08 | Exhibits Panel for indoor Use |  |  | 180x120cm | 3900
RD-117-09 | Exhibits Panel with acrylic cover |  |  | 60x45cm | 1400
RD-117-10 | Exhibits Panel with acrylic cover |  |  | 90x60cm | 2400
RD-117-11 | Exhibits Panel with acrylic cover |  |  | 120x60cm | 3000
RD-117-12 | Exhibits Panel with acrylic cover |  |  | 120x90cm | 4600
RD-117-13 | Exhibits Panel with acrylic cover |  |  | 120x120cm | 6000
RD-117-14 | Exhibits Panel with acrylic cover |  |  | 150x90cm | 6000
RD-117-15 | Exhibits Panel with acrylic cover |  |  | 150x120cm | 7700
RD-117-16 | Exhibits Panel with acrylic cover |  |  | 180x90cm | 7200
RD-117-17 | Exhibits Panel with acrylic cover |  |  | 180x120cm | 8200
RD-118-01 | White Board |  |  | 60x45cm | 875
RD-118-02 | White Board |  |  | 90x60cm | 1650
RD-118-03 | White Board |  |  | 120x60cm | 2200
RD-118-04 | White Board |  |  | 120x90cm | 2750
RD-118-05 | White Board |  |  | 120x120cm | 3300
RD-118-06 | White Board |  |  | 150x90cm | 3300
RD-118-07 | White Board |  |  | 150x120cm | 3850
RD-118-08 | White Board |  |  | 180x90cm | 4200
RD-118-09 | White Board |  |  | 180x120cm | 4400
RD-118-10 | White Board |  |  | 240x120cm | 5700
RD-119-01 | Magnetic Board (White Resin Surface) |  |  | 60x45cm | 1100
RD-119-02 | Magnetic Board (White Resin Surface) |  |  | 90x60cm | 2000
RD-119-03 | Magnetic Board (White Resin Surface) |  |  | 120x60cm | 2750
RD-119-04 | Magnetic Board (White Resin Surface) |  |  | 120x90cm | 3850
RD-119-05 | Magnetic Board (White Resin Surface) |  |  | 120x120cm | 4900
RD-119-07 | Magnetic Board (White Resin Surface) |  |  | 150x120cm | 5500
RD-119-09 | Magnetic Board (White Resin Surface) |  |  | 180x120cm | 7200
RD-119-10 | Magnetic Board (White Resin Surface) |  |  | 240x120cm | 9900
RD-119-11 | Ceramic Magnetic White Board |  |  | 120x60cm | 4200
RD-119-12 | Ceramic Magnetic White Board |  |  | 120x90cm | 5200
RD-119-13 | Ceramic Magnetic White Board |  |  | 120x120cm | 7200
RD-119-14 | Ceramic Magnetic White Board |  |  | 150x120cm | 8200
RD-119-15 | Ceramic Magnetic White Board |  |  | 180x120cm | 9900
RD-119-16 | Ceramic Magnetic White Board |  |  | 240x120cm | 13000
RD-121-01 | Green Chalk Board |  |  | 60x45cm | 750
RD-121-02 | Green Chalk Board |  |  | 90x60cm | 1300
RD-121-03 | Green Chalk Board |  |  | 120x60cm | 1650
RD-121-04 | Green Chalk Board |  |  | 120x90cm | 2300
RD-121-05 | Green Chalk Board |  |  | 120x120cm | 2750
RD-121-07 | Green Chalk Board |  |  | 150x120cm | 3500
RD-121-09 | Green Chalk Board |  |  | 180x120xm | 4000
RD-121-10 | Green Chalk Board |  |  | 240x120cm | 5200
RD-121-11 | Ceramic Green Chalk Board |  |  | 120x60cm | 4100
RD-121-12 | Ceramic Green Chalk Board |  |  | 120x90cm | 5000
RD-121-13 | Ceramic Green Chalk Board |  |  | 120x120cm | 7100
RD-121-14 | Ceramic Green Chalk Board |  |  | 150x120cm | 8100
RD-121-15 | Ceramic Green Chalk Board |  |  | 180x120cm | 9800
RD-121-16 | Ceramic Green Chalk Board |  |  | 240x120cm | 12900
RD-122-01 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 90x60cm | 1300
RD-122-02 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 120x60cm | 1850
RD-122-03 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 120x90cm | 2600
RD-122-04 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 120x120cm | 3000
RD-122-05 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 150x90cm | 3300
RD-122-06 | Dual Purpose (Half exhibit-Half white) Display Panel |  |  | 150x120cm | 3800
RD-122-07 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 180x90cm | 3800
RD-122-08 | Dual Purpose (Half exhibit-half white) Display Panel |  |  | 180x120cm | 4400
RD-122-10 | Flexible Stand for White/ Green Chalk Boards |  |  |  | 1950
RP-151-01 | Herbarium Press for Laboratory Use |  |  | 45x30cm | 1500
RP-151-02 | Herbarium Press for Field Use |  |  | 45x30cm | 1500
RP-152-01 | Herbarium Cabinet |  |  | 6 Drawers | 8000
RP-152-02 | Herbarium Cabinet |  |  | 12 Drawers | 14500
RP-152-03 | Herbarium Cabinet |  |  | 24 Drawers | 26500
RP-153-01 | Tissue Culture Rack fitted with 12 tubes, 6 bulbs, 3UV & Timer |  |  | 4 Shelves | 43000
RP-153-02 | Tissue Culture Rack fitted with 16 tubes, 8 bulbs, 4UV & Timer |  |  | 5 Shelves | 51000
RP-153-03 | Tissue Culture Rack fitted with 12 tubes |  |  | 4 Shelves | 40000
RP-153-04 | Tissue Culture Rack fitted with 16 tubes |  |  | 5 Shelves | 45000
RP-153-05 | Tissue Culture Rack (S.S) fitted with 12 tubes, 6 bulbs, 3UV & Timer |  |  | 4 Shelves | 90000
RP-153-06 | Tissue Culture Rack (S.S) fitted with 16 tubes, 8 bulbs, 4UV & Timer |  |  | 5 Shelves | 99000
RP-153-07 | Tissue Culture Rack (S.S) fitted with 12 tubes |  |  | 4 Shelves | 85000
RP-153-08 | Tissue Culture Rack (S.S) fitted with 16 tubes |  |  | 5 Shelves | 93000
RP-153-09 | Tissue Culture Tray (Metallic) |  |  | 47x36x7.5cm | 490
RP-153-10 | Tissue Culture Jar (Glass) |  |  |  | 48
RP-153-11 | Tissue Culture Tray ( P.P.) Autoclavable |  |  | 40x40x10cm | 490
RP-154-01 | Inoculation Chamber |  |  | 100x60x90cm | 15000
RP-154-02 | Inoculation Chamber |  |  | 100x60x60cm | 12000
RP-154-03 | Inoculation Chamber |  |  | 70x50x40cm | 10000
RP-154-04 | Inoculation Chamber Economy |  |  | 100x60x60cm | 9500
RP-154-05 | Inoculation Chamber Economy |  |  | 70x50x40cm | 8000
RP-155-01 | Chromatography Cabinet for 6 filter papers |  |  | 57x68cm | 9000
RP-155-02 | Chromatography Cabinet for 4 filter papers |  |  | 46x57cm | 8000
RP-157-01 | Tissue Culture Microscope Trinocular |  |  |  | 59500
RP-158-01 | Lux Meter |  |  |  | 2500
RP-159-01 | Plant Growth Chamber |  |  | 10Cu.Ft. | P.O.R.
RP-160-01 | Seed Germinator |  |  | 45x40x60cm. | P.O.R.
RO-201-02 | Projector Trolley |  |  |  | 12000
RO-201-03 | Ceiling Mount Kit with 10 mtr. HDMI Cable |  |  |  | 4900
RO-201-04 | Podium |  |  |  | 12000
RO-201-05 | Digital Podium with mike |  |  |  | 54000
RO-204-01 | XGA Multimedia Projection System |  |  | 2700 Lumens | 49000
RO-204-02 | XGA Multimedia Projection System |  |  | 3200 lumens | 57000
RO-204-03 | XGA Multimedia Projection System with WIFI |  |  | 3800 Lumens | 99000
RO-205-01 | Interactive Board |  |  | 77” Diagonal | 49500
RO-205-02 | Visualizer |  |  |  | 59000
RO-205-03 | Interactive Podium |  |  |  | 150000
RO-209-01 | Projection Screen (High Gain) Tripod Model |  |  | 180x230cm | 7000
RO-209-02 | Projection Screen (High Gain) Tripod Model |  |  | 132x178cm | 3600
RO-209-03 | Projection Screen (High Gain) Tripod Model |  |  | 150x150cm | 3600
RO-210-01 | Projection Screen (High Gain) Wall and Ceiling Model |  |  | 180x230cm | 6000
RO-210-02 | Projection Screen (High Gain) Wall and Ceiling Model |  |  | 132x178cm | 3200
RO-210-03 | Projection Screen (High Gain) Wall and Ceiling Model |  |  | 150x150cm | 3200
RO-211-03 | Rescholar Motorized Screen with cordless remote |  |  | 132x178cm | 19500
RO-211-04 | Rescholar Motorized Screen with Cordless remote |  |  | 180x230cm | 30000
RO-211-05 | Rescholar Motorized Screen with Cordless remote |  |  | 230x300cm | 44000
RO-213-01 | Insta lock screen (Wall and Ceiling Model) |  |  | 132x178cm | 8000
RO-213-02 | Insta lock screen (Wall and Ceiling Model) |  |  | 180x230cm | 15000

## Sheet2
PRICE LIST 2019-20
ITEM CODE | DESCRIPTION | SIZE/CAPACITY | PRICE (each)in
RH-51-01 | Laminar Air Flow (Portable) | 45x45x45cm | 27000
Laminar Air Flow made of thick ply board covered with white sunmica and
epoxy painted inside. Workbench covered with 304 Grade S.S. Perforated
Sheet. Switches for blower and U.V. Light.
RH-55-01 | HEPA Filter | 60x60x15cm | 6000
RH-55-02 | HEPA Filter | 90x60x15cm | 9000
RH-55-03 | HEPA Filter | 120x60x15cm | 11500
RH-55-04 | Pre Filter | 55x55x5cm | 1000
RH-55-05 | Pre Filter | 85x55x5cm | 1800
RH-56 | Laminar Air Flow Workstation (VERTICAL) made of Mild Steel duly powder
coated and workbench made of 304 grade stainless steel perforated sheet.
Microprocessor control TOUCH PANEL LCD Display and digital manometer
& filter failure alarm. LED white Light and UV Light provided.
Motorized Glass Door for easy working. Micro switch for UV Light,
Cock for Gas and 15/5amp socket provided inside the chamber.
RH-56-01 | Laminar Air Flow Workstation (Vertical) Mild Steel | 60x60x60cm | 1, 75, 000.00
RH-56-02 | Laminar Air Flow Workstation (Vertical) Mild Steel | 90x60x60cm | 1, 98, 000.00
RH-56-03 | Laminar Air Flow Workstation (Vertical) Mild Steel | 120x60x60cm | 2, 25, 000.00
RH-56-04 | Laminar Air Flow Workstation (Vertical) Mild Steel | 150x60x60cm | 2, 60, 000.00
Laminar Air Flow Workstation (VERTICAL) made of 304 grade hairline finish
Stainless Steel and workbench made of 304 grade stainless steel
perforated sheet. Microprocessor control TOUCH PANEL LCD Display
and digital manometer & filter failure alarm. LED white Light and UV Light
provided. Motorized Glass Door for easy working. Micro switch for
UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-56-05 | Laminar Air Flow Workstation (Vertical) Stainless Steel | 60x60x60cm | 2, 40, 000.00
RH-56-06 | Laminar Air Flow Workstation (Vertical) Stainless Steel | 90x60x60cm | 2, 70, 000.00
RH-56-07 | Laminar Air Flow Workstation (Vertical) Stainless Steel | 120x60x60cm | 3, 10, 000.00
RH-56-08 | Laminar Air Flow Workstation (Vertical) Stainless Steel | 150x60x60cm | 3, 60, 000.00
RH-57 | Laminar Air Flow (VERTICAL) made of thick ply board covered with
White sunmica and epoxy painted inside. Workbench covered with 304
grade S.S. Perforated sheet. Switches for Blower, U.V. Light & LED light.
RH-57-01 | Laminar Air Flow (Vertical) with S.S. Workbench | 60x60x60cm | 49000
RH-57-02 | Laminar Air Flow (Vertical) with S.S. Workbench | 90x60x60cm | 58000
RH-57-03 | Laminar Air Flow (Vertical) with S.S. Workbench | 120x60x60cm | 72000
RH-57-04 | Laminar Air Flow (Vertical) with S.S. Workbench | 180x60x60cm | 92000
RH-57-05 | Exhaust System for Laminar Air Flow (Vertical) |  | 9000
Laminar Air Flow (VERTICAL) made of 304 grade S.S. Workbench covered
with 304 grade S.S. Perforated Sheet .Microprocessor control digital display
for Blower, UV Light & LED light. Digital Manometer with filter failure alarm
RH-57-06 | Laminar Air Flow (Vertical) complete S.S. | 60x60x60cm | 120000
RH-57-07 | Laminar Air Flow (Vertical) complete S.S. | 90x60x60cm | 130000
RH-57-08 | Laminar Air Flow (Vertical) complete S.S. | 120x60x60cm | 150000
RH-57-09 | Laminar Air Flow (Vertical) complete S.S. | 180x60x60cm | 200000
RH-57-10 | Laminar Air Flow IVF (In Vitro Fertilization). | 120x60x60cm | 195000
Rescholar IVF Bench Provides ISO Class 3 Air Cleanliness within the work area.
Constant temperature (37°C ± 0.4°C) at working platform with digital display.
Temperature adjustable if needed. High quality ULPA Filters.
Laminar Air Flow (VERTICAL) made of Mild Steel duly epoxy powder coated and
Workbench covered with 304 grade S.S. Perforated Sheet. Microprocessor control
digital display for Blower, UV Light & LED light. Digital Manometer with
filter failure alarm
RH-57-11 | Laminar Air Flow (Vertical) Mild Steel | 60x60x60cm | 72000
RH-57-12 | Laminar Air Flow (Vertical) Mild Steel | 90x60x60cm | 90000
RH-57-13 | Laminar Air Flow (Vertical) Mild Steel | 120x60x60cm | 110000
RH-57-14 | Laminar Air Flow (Vertical) Mild Steel | 180x60x60cm | 145000
RH-58 | Laminar Air Flow (HORIZONTAL) made of thick ply board covered with white
sunmica and epoxy painted inside. Workbench covered with 304 grade S.S. Sheet.
Laminar Flow fitted with microprocessor control digital display for Blower,
U.V. Light (with timer) & LED Light. Digital Manometer with filter failure alarm.
RH-58-01 | Laminar Air Flow (Horizontal) with S.S. Work bench, | 60x60x60cm | 55000
With microprocessor control & alarm.
RH-58-02 | Laminar Air Flow (Horizontal) with S.S. Work bench, | 90x60x60cm | 65000
With microprocessor control & alarm.
RH-58-03 | Laminar Air Flow (Horizontal) with S.S. Work bench, | 120x60x60cm | 78000
With microprocessor control & alarm.
RH-58-04 | Laminar Air Flow (Horizontal) with S.S. Work bench, | 180x60x60 cm | 110000
with microprocessor control & alarm.
Laminar Air Flow (HORIZONTAL) made of thick ply board covered with
white sunmica and epoxy painted inside. Workbench covered with 304
grade S.S. Sheet Switches for blower, fluorescent light and U.V. Light.
RH-58-05 | Laminar Air Flow (Horizontal) with S.S. Work bench | 60x60x60cm | 39500
RH-58-06 | Laminar Air Flow (Horizontal) with S.S. Work bench | 90x60x60cm | 49000
RH-58-07 | Laminar Air Flow (Horizontal) with S.S. Work bench | 120x60x60cm | 56000
RH-58-08 | Laminar Air Flow (Horizontal) with S.S. Work bench | 180x60x60cm | 77000
Laminar Air Flow (HORIZONTAL) made of 304 grade S.S. Workbench covered with
304 grade S.S. Sheet. Microprocessor control Digital Display for Blower, U.V. Light
and LED Light. Digital Manometer with filter failure alarm.
RH-58-09 | Laminar Air Flow (Horizontal) Complete S.S. | 60x60x60cm | 110000
RH-58-10 | Laminar Air Flow (Horizontal) Complete S.S. | 90x60x60cm | 130000
RH-58-11 | Laminar Air Flow (Horizontal) Complete S.S. | 120x60x60cm | 145000
RH-58-11A | Laminar Air Flow (Horizontal) Complete S.S. | 180x60x60cm | 198000
Laminar Air Flow (HORIZONTAL) made of Mild Steel duly epoxy powder coated
and Workbench covered with 304 grade S.S. Sheet. Microprocessor control
digital display for Blower, U.V. Light (with timer) and LED Light. Digital Manometer
with filter failure alarm.
RH-58-12 | Laminar Air Flow (Horizontal) Mild Steel | 60x60x60cm | 70000
RH-58-13 | Laminar Air Flow (Horizontal) Mild Steel | 90x60x60cm | 85000
RH-58-14 | Laminar Air Flow (Horizontal) Mild Steel | 120x60x60cm | 105000
RH-58-14A | Laminar Air Flow (Horizontal) Mild Steel | 180x60x60cm. | 140000
Laminar Air Flow Workstation (HORIZONTAL) made of Mild Steel duly powder coated
and workbench made of 304 grade stainless steel sheet. Microprocessor control
TOUCH PANEL LCD Display and digital manometer and filter failure alarm. LED
Light and UV Light provided. Motorized Glass Door for easy working. Micro switch
for UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-58-15 | Laminar Air Flow Workstation (Horizontal) Mild Steel | 60x60x60cm | 1, 75, 000.00
RH-58-16 | Laminar Air Flow Workstation (Horizontal) Mild Steel | 90x60x60cm | 1, 98, 000.00
RH-58-17 | Laminar Air Flow Workstation (Horizontal) Mild Steel | 120x60x60cm | 2, 25, 000.00
RH-58-18 | Laminar Air Flow Workstation (Horizontal) Mild Steel | 150x60x60cm | 2, 60, 000.00
Laminar Air Flow Workstation (HORIZONTAL) made of 304 Grade hairline finish S.S.
and workbench made of 304 grade stainless steel sheet. Microprocessor control
TOUCH PANEL LCD Display and digital manometer & filter failure alarm. LED Light
and UV Light provided. Motorized Glass Door for easy working. Micro switch for
UV Light. Cock for Gas and 15/5Amp socket provided inside the chamber.
RH-58-19 | Laminar Air Flow Workstation (Horizontal) Stainless Steel | 60x60x60cm | 2, 40, 000.00
RH-58-20 | Laminar Air Flow Workstation (Horizontal) Stainless Steel | 90x60x60cm | 2, 70, 000.00
RH-58-21 | Laminar Air Flow Workstation (Horizontal) Stainless Steel | 120x60x60cm | 3, 10, 000.00
RH-58-22 | Laminar Air Flow Workstation (Horizontal) Stainless Steel | 150x60x60cm | 3, 60, 000.00
RH-59 | Biosafe Cabinet made of thick ply board covered with sunmica and epoxy painted
inside. Fitted with HEPA Filter, UV light and Fluorescent light. 70% Air recirculate &
30% Air Exhaust. Fitted with Virus Burnout unit. Switches for Blower, UV & LED Light.
RH-59-01 | Biosafe Cabinet (Wooden), Class II, A-2 | 60x60x60cm | 60000
RH-59-02 | Biosafe Cabinet (Wooden), Class II, A-2 | 90x60x60cm | 80000
RH-59-03 | Biosafe Cabinet (Wooden), Class II, A-2 | 120x60x60cm | 90000
RH-59-04 | *Steriflow Portable Laminar Air Flow for Field use |  | 15000
Biosafe Cabinet (A-2) made of Mild Steel duly epoxy powder coated. Fitted with
HEPA Filter, UV light and LED light. 70% Air recirculate & 30% Air Exhaust. Fitted
with Virus Burnout unit. Microprocessor Control Digital Display for Blower,
U.V. Light & LED light. Digital Manometer with Filter Failure Alarm.
RH-59-05 | Biosafe Cabinet (Mild Steel), Class II, A-2 | 60x60x60cm | 100000
RH-59-06 | Biosafe Cabinet (Mild Steel), Class II, A-2 | 90x60x60cm | 115000
RH-59-07 | Biosafe Cabinet (Mild Steel) Class II, A-2 | 120x60x60cm | 150000
Biosafe Cabinet (A-2) made of 304 grade Stainless Steel. Fitted with HEPA Filter,
UV light and LED light. 70% Air recirculate& 30% Air Exhaust. Fitted with Virus
Burnout unit. Microprocessor Control Digital Display for Blower, U.V. Light &
LED light. Digital Manometer with Filter Failure Alarm.
RH-59-08 | Biosafe Cabinet (Stainless Steel), Class II, A-2 | 60x60x60cm | 145000
RH-59-09 | Biosafe Cabinet(Stainless Steel), Class II, A-2 | 90x60x60cm | 155000
RH-59-10 | Biosafe Cabinet (Stainless Steel), Class II, A-2 | 120x60x60cm | 180000
RH-59-11 | Biosafe Cabinet (Mild Steel) Class II, B-2 | 90x60x60cm | 145000
RH-59-12 | Biosafe Cabinet (Mild Steel) Class II, B-2 | 120x60x60cm | 170000
RH-59-13 | Biosafe Cabinet (Mild Steel) Class II, B-2 | 150x60x60cm | 210000
Biosafe Cabinet (B-2) made of 304 grade Stainless Steel. Fitted with Hepa Filter,
UV light and Fluorescent Light.100% air Exhaust. Fitted with Virus Burnout unit.
Microprocessor Control Digital Display for Blower, U.V. Light & LED light.
Digital Manometer with Filter Failure Alarm.
RH-59-14 | Biosafe Cabinet (Stainless Steel) Class II, B-2 | 90X60X60cm | 185000
RH-59-15 | Biosafe Cabinet (Stainless Steel) Class II, B-2 | 120X60X60cm | 215000
RH-59-16 | Biosafe Cabinet (Stainless Steel) Class ii, B-2 | 150X60X60cm | 250000
RH-60 | Fume Hood made of S.S. 304 Grade with Granite Working Platform,
Polypropylene Sink, Water tap & Exhaust System.
RH-60-01 | Fume Hood (Stainless Steel) | 90x60x60cm | 185000
RH-60-02 | Fume Hood (Stainless Steel) | 120x60x60cm | 200000
RH-60-03 | Fume Hood (Stainless Steel) | 120x75x75cm | 250000
RH-60-04 | Fume Hood (Stainless Steel) | 150x75x75cm | 375000
Fume Hood made of Mild Steel duly epoxy powder coated with Granite
Working platform. Polypropylene Sink, Water tap & Exhaust System.
RH-60-05 | Fume Hood (Mild Steel) | 90x60x60cm | 110000
RH-60-06 | Fume Hood (Mild Steel) | 120x60x60cm | 135000
RH-60-07 | Fume Hood (Mild Steel) | 120x75x75cm | 160000
RH-60-08 | Fume Hood (Mild Steel) | 150x75x75cm | 190000
Fume Hood Made of 19mm thick Plyboard covered with sunmica &
Epoxy painted from inside. Granite working platform, Polypropylene
Sink, Water Tap & Exhaust System.
RH-60-09 | Fume Hood (Wooden with Granite Working Platform) | 90x60x60cm | 65000
RH-60-10 | Fume Hood (Wooden with Granite Working Platform) | 120x60x60cm | 79000
RH-60-11 | Fume Hood (Wooden with Granite Working Platform) | 120x75x75cm | 97000
RH-60-12 | Demonstration Fume Hood | 90x60x60cm | 92000
Fume Hood Stainless Steel
Made of 304 grade S.S. frame outside & inside covered with
polypropylene sheet. Working plateform of Black Granite with
polypropylene sink & water tap colour coded remote valve for gas line and water.
2 nos. 15/5 amp switch & socket. with digital air flow monitor and exhaust system.
RH-60-13 | Fume Hood (Stainless Steel) | 90x60x60cm | 4, 35, 000.00
RH-60-14 | Fume Hood (Stainless Steel) | 120x60x60cm | 4, 70, 000.00
RH-60-15 | Fume Hood (Stainless Steel) | 120x75x75cm | 5, 25, 000.00
RH-60-16 | Fume Hood (Stainless Steel) | 150x75x75cm | 6, 55, 000.00
Fume Hood Mild Steel
Made of Mild Steel duly powder coated from outside & inside covered with
polypropylene sheet. Working plateform of Black Granite with
polypropylene sink & water tap colour coded remote valve for gas line and water.
2 nos. 15/5 amp switch & socket. with digital air flow monitor and exhaust system.
RH-60-17 | Fume Hood (Mild Steel) | 90x60x60cm | 3, 25, 000.00
RH-60-18 | Fume Hood (Mild Steel) | 120x60x60cm | 3, 75, 000.00
RH-60-19 | Fume Hood (Mild Steel) | 120x75x75cm | 4, 00, 000.00
RH-60-20 | Fume Hood (Mild Steel) | 150x75x75cm | 4, 25, 000.00
RH-60-25 | Grossing Table Complete S.S with Exhaust | 150x75x90cm | 2, 95, 000.00
made of High gra de Stainless Steel. Continuous Air flow along entire
work area. Provided with Dictaphone, Camera holder on railing system,
magnifying glass/light magnifier with flexible arms, Document holder
forrequistion forms, literatures etc, Magnetic instrument holder, Paper
towel holder, Polythene cutting board, Mixer tap for hot and cold water,
sink with tap, Sturdy perforated insert able work plate ,Sprinkler system
with adjustable valve for bath sanitation located underneath the
perforated working plate & Drawers.
S.S. Scoop Open Type Made of S.S. 316 grade. Mirror finish.
RH-60-30 | S.S. Scoop | 250gm | 1950
RH-60-31 | S.S. Scoop | 500gm | 2150
RH-60-32 | S.S. Scoop | 1000gm | 2900
RH-60-33 | S.S. Scoop | 2000gm | 4700
S.S. Scoop Closed Type Made of S.S. 316 grade. Mirror finish.
RH-60-34 | S.S. Scoop | 250gm | 2142
RH-60-35 | S.S. Scoop | 500gm | 2570
RH-60-36 | S.S. Scoop | 1000gm | 3420
RH-60-37 | S.S. Scoop | 2000gm | 5100
RI-61-01 | Insect Storage Box | 53x45x9cm | 2300
RI-61-02 | Insect Storage Box | 45x30x7.5cm | 1550
RI-61-03 | Insect Storage Box | 38x25x7.5cm | 1200
RI-61-04 | Insect Storage Box | 30x23x7.5cm | 900
RI-62-01 | Insect Display & Storage Showcase | 53x45x9cm | 2300
RI-62-02 | Insect Display & Storage Showcase | 45x30x6.5cm | 1550
RI-62-03 | Insect Display & Storage Showcase | 38x25x6.5cm | 1200
RI-62-04 | Insect Display & Storage Showcase | 30x23x6.5cm | 900
RI-63-01 | Insect Display Showcase (Wall Hanging) | 90x60x11cm | 6000
RI-64-01 | Insect Showcase Cabinet (Small) | 6 Showcases | 14000
RI-64-02 | Insect Showcase Cabinet (Small) | 12 Showcases | 27500
RI-64-03 | Insect Showcase Cabinet (Small) | 24 Showcases | 55000
RI-64-04 | Insect Showcase Cabinet, M.S. Powder Coated (Small) | 10 Showcases | 29000
RI-64-05 | Insect Showcase Cabinet, M.S. Powder Coated (Small) | 20 Showcases | 57000
RI-65-01 | Insect Showcase Cabinet (Large) | 12 Drawers | 34000
RI-65-02 | Insect Showcase Cabinet (Large) | 24 Drawers | 62000
RI-65-03 | Mobile Insect Storage System (Size 45x30x6.5cm.) | 240 Showcases | 9, 75,000.00
RI-65-04 | Mobile Insect Storage System (Size 53x45x7.5cm.) | 240 Drawers | 11, 60,000.00
RI-66-01 | Insect Box with Stretching Strips | 43x30x11cm | 3500
RI-67-01 | Insect Stretching Board (Adjustable) |  | 500
RI-68-01 | Insect Activity Recorder |  | 295000
RI-68-02 | Insect Growth Chamber | 54x65x75cm | 398000
RI-69-01 | Insect Collecting Net with Aluminium Handle |  | 425
RI-69-02 | Insect Collecting Net with Iron Handle |  | 400
RI-69-03 | Insect Collecting Net with Wooden Handle |  | 425
RI-69-04 | Spare net bags for insect Collecting Nets, Muslin/Nylon/Synth |  | 300
RI-69-05 | Insect Collecting Net, Executive, with Telescopic Handle. |  | 2500
RI-69-06 | Insect Collecting Net with Aluminium Handle & Folding Ring |  | 600
RI-69-07 | Insect Collecting Net with Aluminium Handle, Dual Purpose |  | 600
RI-69-08 | Insect Collecting Net with Iron Handle, Triangle type |  | 500
RI-70-01 | Student Plankton Net |  | 500
RI-70-02 | Zooplankton Net, with collection bottle. 60 micron mesh |  | 2500
RI-70-03 | Spare Bag for Zooplankton Net, 80/150/250 mesh size. |  | 800
RI-70-04 | Surber Stream Bottom Sampler | 30x30cm | 6000
RI-71-01 | Aquatic Net, D-Shape |  | 500
RI-71-02 | Aquatic Net, Triangle Shape |  | 750
RI-71-03 | Aquatic Net, Rectangular Shape |  | 750
RI-71-04 | Aquatic Net, Round Shape |  | 600
RI-71-05 | Telescopic Handle for Aquatic Nets |  | 2000
RI-72-01 | Field Collection Bag (with accessories) |  | 3000
RI-72-02 | Field Collection Bag, Executive (without accessories) |  | 3000
RI-72-03 | Field Collection Bag, Executive (with accessories) |  | 5000
RI-72-04 | Sorting Tray |  | 190
RI-72-05 | Teasing Needle, Straight |  | 45
RI-72-06 | Teasing Needle, Bent |  | 45
RI-72-07 | Insect Killing Jar, without chemical | 500ml | 150
RI-72-08 | Altimeter |  | 4900
RI-72-11 | Aspirator |  | 275
RI-72-12 | Insect Mailing Box, Card-board (Pack of 6) | 15x10x5cm | 750
RI-72-13 | Dissecting Tray, with Wax / EVA Pad | 30x23x5cm | 600
RI-72-14 | Dissecting Kit |  | 1000
RI-73-01 | Entomological Pins, (Imported) Black Enameled | Pkt. of 100 App. | 600
RI-73-01A | Entomological pins, (Imported), Stainless Steel | Pkt. Of 100 App. | 900
RI-73-02 | Insect Pinning Block, step type |  | 225
RI-73-03 | Entomological Pin Storage Block, round type |  | 300
RI-73-04 | Curator Block |  | 800
RI-73-05 | Pin Vice |  | 200
RI-74-01 | Insect Light Trap with Electric Bulb |  | 6500
RI-74-02 | Insect Light Trap with Electric Bulb & Battery |  | 13000
RI-74-03 | Insect Light Trap with Fluorescent Tube |  | 7000
RI-74-04 | Insect Light Trap with Fluorescent Tube & Battery |  | 13500
RI-74-05 | Insect Light Trap with U.V. Tube |  | 9500
RI-74-06 | Insect Light Trap with U.V. Tube& Battery |  | 15500
RI-74-08 | Insect Light Trap (Barles Type) |  | 3000
RI-74-09 | Light Trap for Moth with Mercury Bulb |  | 4000
RI-74-11 | Trap for Fruit Files |  | 975
RI-74-12 | Pheromon Trap | 100/Pack | 3500
RI-74-13 | Pit Fall Trap |  | 500
RI-74-14 | Yellow Sticky Pan | 10/Pack | 700
RI-74-15 | Yellow Sticky Trap | 10/Pack | 300
RI-74-16 | Light Trap, Plastic, Folding, for field use, with Bulb |  | 6000
RI-74-17 | Light trap, Plastic, Folding, for field use, with CFL Tube |  | 6000
RI-74-18 | Light Trap, Plastic, Folding, for field use, with UV Light |  | 7500
RI-74-19 | Rechargeable Battery, with charger (for Light Trap) |  | 7000
RI-74-20 | New Jersey Light Trap (Imported) |  | P.O.R.
RI-74-21 | Malaise Trap |  | 34000
RI-74-22 | Insect Light Trap Folding (Plastic) with Mercury Bulb |  | 2200
RI-75-01 | Insect Cage | 15x15x15cm | 1050
RI-75-02 | Insect Cage | 20x15x15cm | 1200
RI-75-03 | Insect Cage | 25x20x20cm | 1400
RI-75-04 | Insect Cage Folding Type | 20x20x20cm | 2200
RI-75-05 | Insect Cage | 30x30x45cm | 3000
RI-75-06 | Bio-agent Cage (Acrylic) | 30x30x30cm | 4000
RI-75-07 | Insect Cage, round Shape (Acrylic) | 45x15cm | 3900
RI-76-01 | Breeding Nest for Flies | 45x45x45cm | 5000
RI-77-01 | Brown Plant Hopper Insect Rearing Cage | 45x45x55cm | 5900
RI-77-02 | Brown Plant Hopper Insect Rearing Cage | 60x60x80cm | 15000
RI-77-03 | Green Leaf Hopper Insect Rearing Cage | 45x45x65cm | 6500
RI-77-04 | Green Leaf Hopper Insect Rearing Cage | 60x60x90cm | 16000
RI-78-01 | Rat & Mosquito Cage | 45x30x30cm | 3000
RI-78-02 | Mosquito Breeder |  | 900
RI-79-05 | Animal Cage Polypropylene with S.S. grill & Water Bottle | 43.5x29x15cm | 2400
RI-80-01 | Corcyra Cage MDF | 43x23x12cm | 600
RI-80-02 | Corcyra Cage (waterproof plywood) | 38x38x10cm | 950
RI-80-03 | Moth Breeding Cage |  | 800
RG-91-01 | Wax Block Cabinet |  | 20500
RG-91-02 | Chemical Storage Cabinet |  | 298000
RG-91-03 | Laboratory Stool (Revolving) |  | 1800
RG-91-04 | Chemical / Instrument Storage Cabinet |  | 35000
RG-91-05 | Chemical Storage Cabinet with Exhaust |  | 80000
RG-92-01 | Tracer |  | 3900
RG-93-01 | Reprint Box |  | 400
RG-94-01 | Literature Cabinet |  | 16500
RG-94-02 | Literature Cabinet |  | 20000
RG-94-03 | Literature Cabinet |  | 23000
RG-96-01 | Museum Specimen Display Showcase |  | 2400
RG-97-01 | Drawing Board with stand (Adjustable) |  | 4500
RG-98-01 | Wooden Box for Microscope |  | 6000
RG-98-02 | Wooden Box for Microscope |  | 9000
RG-98-03 | Perspex Cover for Binocular Microscope |  | 2400
RG-98-04 | Perspex Cover for Trinocular Microscope |  | 2700
RG-98-05 | Perspex Cover for Instrument |  | 3800
RG-98-06 | Perspex Cover for Instrument |  | 5200
RG-98-07 | Perspex Cover for Instrument |  | 7000
RG-99-01 | Student Medical, Microscope with 10 x WF eyepiece |  | 8000
RG-99-01A | Student Microscope, with 10x WF eyepiece |  | 6400
RG-99-02 | Compound Microscope, Monocular |  | 14500
RG-99-03 | Compound Microscope, Binocular |  | 18000
RG-99-04 | Compound Microscope, Trinocular |  | 24000
RG-99-05 | Coaxial Compound Microscope, Monocular |  | 24000
RG-99-06 | Coaxial Compound Microscope, Binocular |  | 27000
RG-99-07 | Coaxial Compound Microscope, Trinocular |  | 32000
RG-99-08 | Digital Eyepiece Camera 5MP with Measuring Software |  | 33000
RG-99-09 | Digital Eyepiece Camera 10 MP, with Measuring Software |  | 50000
RG-99-11 | Compound Microscope with image Analyzer |  | 690000
RG-99-12 | Compound Microscope with USB Camera, Measuring Software & PC |  | 180000
RG-99-13 | Advanced Research Compound Microscope (Binocular) |  | 64000
RG-99-14 | Advanced Research Compound Microscope (Trinocular) |  | 69000
RG-100-01 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller |  | 102000
RG-100-02 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller |  | 108000
RG-100-03 | B.O.D. Incubator, Inner Chamber S.S. with Digital Temp. Controller |  | 125000
RG-100-04 | Deep Freezer, -20°C |  | 102000
RG-100-05 | Deep Freezer, -20°C |  | 118000
RG-100-06 | Ultra Low Freezer, -86°C |  | 980000
RG-100-07 | Ultra Low Freezer, -86°C |  | 1100000
RG-100-10 | Glass Bead Sterilizer |  | 9800
RG-100-11 | Glass Bead Sterilizer |  | 15000
RG-100-12 | Oven with S.S. Chamber & Digital Controller |  | 35000
RG-100-13 | Oven with S.S. Chamber & Digital Controller |  | 58000
RG-100-14 | Incubator with S.S. Chamber & Digital Controller |  | 36500
RG-100-15 | Incubator with S.S. Chamber & Digital Controller |  | 58500
RG-100-16 | Water Bath (Serological) with Digital Controller |  | 19500
RG-100-17 | Water Bath (High Precision) with Digital Controller |  | 49500
RG-100-18 | Magnetic Stirrer |  | 9500
RG-100-19 | Magnetic Stirrer with hot Plate |  | 30000
RG-100-20 | Instrument Trolley S.S. | 60x45x75cm | 19000
RG-100-21 | Digital Balance, 0.1mg | 220gm | 89000
RG-100-22 | Digital Balance, 0.001gm | 220gm | 57000
RG-100-23 | Digital Flame Photometer |  | 45000
RG-100-24 | Microprocessor Flame Photometer |  | 89500
RG-101-01 | Digital Vernier Caliper |  | 1900
RG-101-02 | pH Meter with Automatic Temperature Control |  | 9800
RG-101-02A | pH Meter Mircoprocessor Based |  | 23000
RG-101-03 | Photo Colorimeter Automatic Zero Setting |  | 10500
RG-101-04 | Conductivity Meter (Digital, auto Ranging) |  | 9800
RG-101-04A | Conductivity / TDS / Salinity Meter Mircoprocessor Based |  | 23500
RG-101-05 | Spectrophotometer Digital |  | 46000
Digital Spectrophotometer double display Range 340-960nm with
Facility for Automatic Concentration, % transmission and absorbance
measurements. Separate 3 digit LED display For wavelength in nm with
1nm wavelength resolution. Equipped with set of 10mm & 50mm
Path length cuvettes.
RG-101-06 | Spectrophotometer Visible Single Beam |  | 70000
Microprocessor Spectrophotometer Visible single beam with range
320-1020nm and facility For auto concentration, % Transmission and
absorbance measurements. 3 2 bright LCD display for data. Its sample
holder accommodates glass cuvettes of 10 to 50nm path length. Facility
has been provided for unlimited data storage and interface for any
printer through RS 232C. A set of 4 glass cuvettes of 10mm path length
is provided. With Software.
RG-101-07 | UV Visible Spectrophotometer (Single Beam) |  | 205000
Microprocessor UV-VIS Spectrophotometer Range 195 to 1000nm with
facility for automatic Concentration, % Transmission . Absorbance & K
factor measurement. Automatic wavelength calibration and Selection.
It has sample holder with 4 position selector control for 10mm path
length cuvettes. Facility has been provided for interface with any
printer USB. Set of 2 Quartz & 4 glass Cuvettes is provided with software.
RG-101-08 | UV Visible Spectrophotometer (Double Beam) |  | 460000
Double Beam Microprocessor UV-VIS Spectrophotometer Range
190-1100mnm, fully automatic Operations, automatic 8 cell changer,
bandwidth 1nm, automatic wavelength calibration and wave length
scan, automatic peak picking & spectrum display. Spectrum and data
can be printed out by printer and sent to computer via USB port.
Set of 4 quartz & 16 glass cuvettes is provided with Software.
RG-101-09 | Laboratory Table (With Reagent Rack, Sink & Tap) | 120x90cm | 72000
RG-101-10 | Laboratory Table (With Reagent Rack, Sink & Tap) | 180x120cm | 108000
RG-101-11 | Laboratory Table (With Reagent Rack, Sink & Tap) | 240x120cm | 144000
RG-105-01 | Slide Cabinet | 1000 | 4600
RG-105-02 | Slide Cabinet | 2000 | 9200
RG-105-03 | Slide Cabinet | 5000 | 18000
RG-105-04 | Slide Cabinet |  | 36500
RG-105-05 | Slide Cabinet, Metal, Powder Coated |  | 16000
RG-105-06 | Slide Cabinet, Metal, Powder Coated |  | 32000
RG-105-07 | Slide Cabinet, Metal, Powder Coated |  | 63000
RG-105-08 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 7000
RG-105-09 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 28000
RG-105-10 | Slide Cabinet, Mild Steel with Moulded Drawers |  | 56000
RG-105-11 | Slide Cabinet, S.S. 304 Grade with 5 Moulded Drawers |  | 12000
RG-105-12 | Slide Cabinet, S.S. 304 Grade with 25 Moulded Drawers |  | 60000
RG-105-13 | Slide Cabinet, S.S. 304 Grade with 50 Moulded Drawers |  | 120000
RG-106-01 | Standard Work Station for Computer |  | 7000
RG-108-01 | V.D.U Table |  | 4500
RG-109-02 | Laboratory Waste Collection Bin, S.S. |  | 3000
RG-109-04 | Eye Wash Station, Floor Model, Hand Operated |  | 12000
RG-109-05 | Eye Wash Station cum Body Washer |  | 19000
RD-111-01 | Combination Board (Half White & Half Green) | 120x90cm | 2800
RD-111-02 | Combination Board (Half White & Half Green) | 150x120cm | 3900
RD-111-03 | Combination Board (Half White & Half Green) | 180x120cm | 4600
RD-111-04 | Combination Board (Half White & Half Green) | 240x120cm | 5900
RD-116-01 | Exhibits Panel for Outdoor Use | 120x90cm | 4000
RD-116-02 | Exhibits Panel for Outdoor Use | 150x90cm | 4950
RD-116-03 | Exhibits Panel for Outdoor Use | 180x90cm | 6000
RD-116-04 | Multiple Exhibits Panel for Outdoor Use | 60x90cmx3 | 6000
RD-116-05 | Multiple Exhibits Panel for Outdoor Use | 60x90cmx4 | 7200
RD-116-06 | Multiple Exhibits Panel for Outdoor Use | 90x120cmx3 | 9000
RD-117-01 | Exhibits Panel for indoor Use | 60x45cm | 600
RD-117-02 | Exhibits Panel for indoor Use | 90x60cm | 1000
RD-117-03 | Exhibits Panel for indoor Use | 120x60cm | 1300
RD-117-04 | Exhibits Panel for indoor Use | 120x90cm | 2000
RD-117-05 | Exhibits Panel for indoor Use | 150x90cm | 2650
RD-117-06 | Exhibits Panel for indoor Use | 150x120cm | 3300
RD-117-07 | Exhibits Panel for indoor Use | 180x90cm | 3200
RD-117-08 | Exhibits Panel for indoor Use | 180x120cm | 3900
RD-117-09 | Exhibits Panel with acrylic cover | 60x45cm | 1400
RD-117-10 | Exhibits Panel with acrylic cover | 90x60cm | 2400
RD-117-11 | Exhibits Panel with acrylic cover | 120x60cm | 3000
RD-117-12 | Exhibits Panel with acrylic cover | 120x90cm | 4600
RD-117-13 | Exhibits Panel with acrylic cover | 120x120cm | 6000
RD-117-14 | Exhibits Panel with acrylic cover | 150x90cm | 6000
RD-117-15 | Exhibits Panel with acrylic cover | 150x120cm | 7700
RD-117-16 | Exhibits Panel with acrylic cover | 180x90cm | 7200
RD-117-17 | Exhibits Panel with acrylic cover | 180x120cm | 8200
RD-118-01 | White Board | 60x45cm | 875
RD-118-02 | White Board | 90x60cm | 1650
RD-118-03 | White Board | 120x60cm | 2200
RD-118-04 | White Board | 120x90cm | 2750
RD-118-05 | White Board | 120x120cm | 3300
RD-118-06 | White Board | 150x90cm | 3300
RD-118-07 | White Board | 150x120cm | 3850
RD-118-08 | White Board | 180x90cm | 4200
RD-118-09 | White Board | 180x120cm | 4400
RD-118-10 | White Board | 240x120cm | 5700
RD-119-01 | Magnetic Board (White Resin Surface) | 60x45cm | 1100
RD-119-02 | Magnetic Board (White Resin Surface) | 90x60cm | 2000
RD-119-03 | Magnetic Board (White Resin Surface) | 120x60cm | 2750
RD-119-04 | Magnetic Board (White Resin Surface) | 120x90cm | 3850
RD-119-05 | Magnetic Board (White Resin Surface) | 120x120cm | 4900
RD-119-07 | Magnetic Board (White Resin Surface) | 150x120cm | 5500
RD-119-09 | Magnetic Board (White Resin Surface) | 180x120cm | 7200
RD-119-10 | Magnetic Board (White Resin Surface) | 240x120cm | 9900
RD-119-11 | Ceramic Magnetic White Board | 120x60cm | 4200
RD-119-12 | Ceramic Magnetic White Board | 120x90cm | 5200
RD-119-13 | Ceramic Magnetic White Board | 120x120cm | 7200
RD-119-14 | Ceramic Magnetic White Board | 150x120cm | 8200
RD-119-15 | Ceramic Magnetic White Board | 180x120cm | 9900
RD-119-16 | Ceramic Magnetic White Board | 240x120cm | 13000
RD-121-01 | Green Chalk Board | 60x45cm | 750
RD-121-02 | Green Chalk Board | 90x60cm | 1300
RD-121-03 | Green Chalk Board | 120x60cm | 1650
RD-121-04 | Green Chalk Board | 120x90cm | 2300
RD-121-05 | Green Chalk Board | 120x120cm | 2750
RD-121-07 | Green Chalk Board | 150x120cm | 3500
RD-121-09 | Green Chalk Board | 180x120xm | 4000
RD-121-10 | Green Chalk Board | 240x120cm | 5200
RD-121-11 | Ceramic Green Chalk Board | 120x60cm | 4100
RD-121-12 | Ceramic Green Chalk Board | 120x90cm | 5000
RD-121-13 | Ceramic Green Chalk Board | 120x120cm | 7100
RD-121-14 | Ceramic Green Chalk Board | 150x120cm | 8100
RD-121-15 | Ceramic Green Chalk Board | 180x120cm | 9800
RD-121-16 | Ceramic Green Chalk Board | 240x120cm | 12900
RD-122-01 | Dual Purpose (Half exhibit-half white) Display Panel | 90x60cm | 1300
RD-122-02 | Dual Purpose (Half exhibit-half white) Display Panel | 120x60cm | 1850
RD-122-03 | Dual Purpose (Half exhibit-half white) Display Panel | 120x90cm | 2600
RD-122-04 | Dual Purpose (Half exhibit-half white) Display Panel | 120x120cm | 3000
RD-122-05 | Dual Purpose (Half exhibit-half white) Display Panel | 150x90cm | 3300
RD-122-06 | Dual Purpose (Half exhibit-Half white) Display Panel | 150x120cm | 3800
RD-122-07 | Dual Purpose (Half exhibit-half white) Display Panel | 180x90cm | 3800
RD-122-08 | Dual Purpose (Half exhibit-half white) Display Panel | 180x120cm | 4400
RD-122-10 | Flexible Stand for White/ Green Chalk Boards |  | 1950
RP-151-01 | Herbarium Press for Laboratory Use | 45x30cm | 1500
RP-151-02 | Herbarium Press for Field Use | 45x30cm | 1500
RP-152-01 | Herbarium Cabinet | 6 Drawers | 8000
RP-152-02 | Herbarium Cabinet | 12 Drawers | 14500
RP-152-03 | Herbarium Cabinet | 24 Drawers | 26500
RP-153-01 | Tissue Culture Rack fitted with 12 tubes, 6 bulbs, 3UV & Timer | 4 Shelves | 43000
RP-153-02 | Tissue Culture Rack fitted with 16 tubes, 8 bulbs, 4UV & Timer | 5 Shelves | 51000
RP-153-03 | Tissue Culture Rack fitted with 12 tubes | 4 Shelves | 40000
RP-153-04 | Tissue Culture Rack fitted with 16 tubes | 5 Shelves | 45000
RP-153-05 | Tissue Culture Rack (S.S) fitted with 12 tubes, 6 bulbs, 3UV & Timer | 4 Shelves | 90000
RP-153-06 | Tissue Culture Rack (S.S) fitted with 16 tubes, 8 bulbs, 4UV & Timer | 5 Shelves | 99000
RP-153-07 | Tissue Culture Rack (S.S) fitted with 12 tubes | 4 Shelves | 85000
RP-153-08 | Tissue Culture Rack (S.S) fitted with 16 tubes | 5 Shelves | 93000
RP-153-09 | Tissue Culture Tray (Metallic) | 47x36x7.5cm | 490
RP-153-10 | Tissue Culture Jar (Glass) |  | 48
RP-153-11 | Tissue Culture Tray ( P.P.) Autoclavable | 40x40x10cm | 490
RP-154-01 | Inoculation Chamber | 100x60x90cm | 15000
RP-154-02 | Inoculation Chamber | 100x60x60cm | 12000
RP-154-03 | Inoculation Chamber | 70x50x40cm | 10000
RP-154-04 | Inoculation Chamber Economy | 100x60x60cm | 9500
RP-154-05 | Inoculation Chamber Economy | 70x50x40cm | 8000
RP-155-01 | Chromatography Cabinet for 6 filter papers | 57x68cm | 9000
RP-155-02 | Chromatography Cabinet for 4 filter papers | 46x57cm | 8000
RP-157-01 | Tissue Culture Microscope Trinocular |  | 59500
RP-158-01 | Lux Meter |  | 2500
RO-201-02 | Projector Trolley |  | 12000
RO-201-03 | Ceiling Mount Kit with 10 mtr. HDMI Cable |  | 4900
RO-201-04 | Podium |  | 12000
RO-201-05 | Digital Podium with mike |  | 54000
RO-204-01 | XGA Multimedia Projection System | 2700 Lumens | 49000
RO-204-02 | XGA Multimedia Projection System | 3200 lumens | 57000
RO-204-03 | XGA Multimedia Projection System with WIFI | 3800 Lumens | 99000
RO-205-01 | Interactive Board | 77” Diagonal | 49500
RO-205-02 | Visualizer |  | 59000
RO-205-03 | Interactive Podium |  | 150000
RO-209-01 | Projection Screen (High Gain) Tripod Model | 180x230cm | 7000
RO-209-02 | Projection Screen (High Gain) Tripod Model | 132x178cm | 3600
RO-209-03 | Projection Screen (High Gain) Tripod Model | 150x150cm | 3600
RO-210-01 | Projection Screen (High Gain) Wall and Ceiling Model | 180x230cm | 6000
RO-210-02 | Projection Screen (High Gain) Wall and Ceiling Model | 132x178cm | 3200
RO-210-03 | Projection Screen (High Gain) Wall and Ceiling Model | 150x150cm | 3200
RO-211-03 | Rescholar Motorized Screen with cordless remote | 132x178cm | 19500
RO-211-04 | Rescholar Motorized Screen with Cordless remote | 180x230cm | 30000
RO-211-05 | Rescholar Motorized Screen with Cordless remote | 230x300cm | 44000
RO-213-01 | Insta lock screen (Wall and Ceiling Model) | 132x178cm | 8000
RO-213-02 | Insta lock screen (Wall and Ceiling Model) | 180x230cm | 15000