## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <P/f of aspirating smoke detection system in Substations 5 and 6 at IISER Mohali >
Contract No: <IISER/EEEO/EstimateP/21-22/15>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sr. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE INCLUSIVE OF GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT Inclusive of GST | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 7 | 8
1 | Supply/ Installation/ Testing/ Commissioning of Short wave length laser-Based Absolute Smoke Detection Panel with 2 pipe inlets, upto 800 m2 coverage including false floor and false ceiling; Wide sensitivity range - 0.005%–20% obs/m; built in alarm levels; High efficiency aspirator; Clean air barrier optics protection; Easy to replace dual stage filter with built in memory; 7 Nos. of inbuilt potential free relay outputs; supports linear pipe length of 70m per pipe (total 140m) or branched pipe up to 100m per pipe; supports 20 Nos. of Class A sampling points, Auto Learn for automatic setup of alarm threshold, Referencing & Event log; TCP/IP & Two Core Wire network connectivity built in for central monitoring & monitoring through Centralized software (Software License Separate) Approvals-UL, ULC, FM,EN 54,VDS Make: Wagner/ Edwards/Siemens | item1 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
2 | Supply and erection of VESDA Power Supply. The power supply is providing operating power 24 to 27 volt, including battery backup, for the entire line of VESDA Aspirating Smoke Detectors. The VESDA Power Supply has been designed to power a single unit to multiple units depending on application needs. It provides 24 to 27 volt operating power to the VESDA system as well as a battery charger function that supervises and maintains the standby batteries. Relay outputs for connection to the general-purpose input for fault monitoring (230 Vac only) EN54-4 Compatible, Temperature compensated charging to maximize battery life. The job includes the cost of labour and other petty material required to complete the job to the entire satisfaction of Engineer in charge of the work. Make: Wagner/ Edwards/Siemens. | item2 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | All kinds of soil. | item1 | 22 | cum
3 | Supply and laying of UPVC (Unplasticised polyvinyl chloride) pipe 25 mm outer dia of Make- ASTRAL/ Finolex/ Supreme. The pipe should have pressure of 33.7 kg/cm2 at 23° C. The pipe should be laid on the ceiling of the building with the help of suitable size of clamp. The job includes the cost of labour and other petty material required to complete the job to the entire satisfaction of Engineer in charge of the work. | item3 | 170 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
4 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | [53 empty] | 2.1 | 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size). | item2 | 6 | cum
5 | 3 x 1.5 sq. mm | item4 | 60 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
7 | 25 mm | item5 | 20 | Mtrs |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder complete as required. | item6 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | Total in Figures |  |  |  |  | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | Zero Only | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information