## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Directro, IISER Mohali
Name of Work: <AMC of Fire Alarm panels entailing detection and fire fighting system in various buildings at IISER Mohali>
Contract No: <IISER/SE/24-25/AMC-02>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures With Inclusive of GST To be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in percentage to be entred by bidder in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Other Taxes 2 in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Inclusice of GST Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 8 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 7 | 8
1 | AMC of addressable fire detection and alarm system, comprising of addressable control panel, loop driver card, addressable optical smoke detector & other types, hooter, addressable manual call point, output control module, fault isolator, circuit wiring for sensor, vesda, etc, involving repair, maintenance, attending to complaints/faults/breakdowns, ensuring serviciablity and satisfactory working condition of all fire alarm systems as per annexure A attached (total no. of panels and detectors), maintaining all records of repair, fire drill etc, system Makes manly : Edwards, etc, Type : Fire detector /Fire alarm/Manual call button type. | item1 | 1 | year |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | AMC of fire fighting hydrant system located inside buildings and in 125 acre institutional campus open area comprising of fire pump sets, valves , fire brigade inlets, sprinkler, hose pipes, fog nozzles, air vessels, landing valves,all fire hydrant lines of sizes 150mm,100mm,80mm ,etc. involving repair, maintenance, B-Check of Diesel Engine set, attending to complaints/ faults/ breakdowns, ensuring serviceability, satisfactory working condition of the systems,fixing only of spare parts (to be provided by IISER) maintaining all repair/ training records, conducting fire drill from time to time ,(Details of buildings having no. of fire hydrants and external hydrants enclosed as annexure B, indicating total indoor/outdoor hydrants as). | item2 | 1 | year |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## BoQ2 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Director, IISER Mohali
Name of Work: <AMC of Fire Alarm panels entailing detection and fire fighting system in various buildingsat IISER Mohali>
Contract No: <IISER/SE/24-25/AMC-02>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures with inclusive of GST To be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in percentage to be entred by bidder in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Other Taxes 2 in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Inclusice of GST Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 8 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 7 | 8
1 | New Intelligent Fire Alarm Control Panel - Single Loop expandable to 2 Loops, Maximum 477 addressable devices, 30 Zone, 2 Bell Circuit, Integrated PSU with Battery Charger, Excluding Batteries, Make : Edwards etc.. | Item1 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Communication Board for communicating to repeater panels.Make : Edwards etc.. | Item2 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Common Detector Base for Addressable & Conventional Detectors. Make : Edwards etc.. | Item3 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Intelligent Combined Optical Smoke, Fixed Temperature and Rate of Rise Heat Detector, Drift Compensation, Sensitivity Adjustment, 8 Bit Processor with Remote Indicator Output.Make : Siemens/Edwards/Honeywell. | Item4 | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Intelligent Optical Detector, Drift Compensation, Sensitivity Adjustment, 8 Bit Processor with Remote Indicator Output. Make : Siemens/Edwards/Honeywell. | Item5 | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Intelligent Fixed Temperature and Rate of Rise Heat Detector, 8 Bit Processor with Remote Indicator Output.Make : Siemens/Edwards/Honeywell. | Item6 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Central Processing Unit Make : Siemens/Edwards/Honeywell. | Item7 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | RS232 Card for Printer etc. Make : Siemens/Edwards/Honeywell. | Item8 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Single Loop Card Make : Siemens/Edwards/Honeywell. | Item9 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Dual Loop Card Make : Siemens/Edwards/Honeywell. | Item10 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Amplifier 20 Watt Make : Siemens/Edwards/Honeywell. | Item11 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Two way communication unit.Make : Siemens/Edwards/Honeywell. | Item12 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | One Chasis.Make : Siemens/Edwards/Honeywell. | Item13 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Repeater panel.Make : Siemens/Edwards/Honeywell. | Item14 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Ceiling Mount white colour with fire Marking Multi-wattage 70 Volt Speaker (1/4 to 2 Watt). Make : Siemens/Edwards/Honeywell. | Item15 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Wall Mount Red colour with fire Marking Multi-wattage 70 Volt Speaker (1/4 to 2 Watt). Make : Siemens/Edwards/Honeywell. | Item16 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Horn-Strobe(15, 30, 75, or 110 cd output, high or low dB), white wall mounted hooter with strobe (100 dba) Make : Siemens/Edwards/Honeywell. | Item17 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Monitor Module Make : Siemens/Edwards/Honeywell. | Item18 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Control Module Make : Siemens/Edwards/Honeywell. | Item19 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Addressable Isolator Module Make : Siemens/Edwards/Honeywell. | Item20 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Control Module for Hooter, Hooter Cum Strobe, Telephone Jack Make : Siemens/Edwards/Honeywell. | Item21 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Addressable Manual Pull Station Type Call Points, Make : Siemens/Edwards/Honeywell. | Item22 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Battery SMF Type 12V,7Ah. Make : Exide/Amaron/Rocket | Item23 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Battery SMF Type 12V,26Ah. Make : Exide/Amaron/Rocket | Item24 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Battery SMF Type 12V,42Ah. Make : Exide/Amaron/Rocket | Item25 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | 24VDC 10Amp power supply for beam detector including Testing, Commissioning all complete as directed.Make : Siemens/Edwards/Honeywell. | Item26 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Site visit charges by OEM Engineer (Edwards) | Item27 | 1 | visit per quarter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | All above are for addressable type of systems and should be compatible with the existing system installed, warranty on parts required is minimum 1 year.
29 | FIRE HYDRANT
30 | Minor repair and overhauling of 72-75 HP main pump i/c all required spare for minor repair.. | Item28 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Minor repair and overhauling of 15 HP jockey pump i/c all required spare for minor repair. | Item29 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Replacement of the damage door locks of internal / external fire hydrant box | Item30 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Replacement of the damage door glass of existing external fire hydrant box with glass/ACP/Acrylic sheet. | Item31 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
34 | Excavation and back filling for finding leakage in fire hydrant pipe | Item32 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | Dismantiling of existing 150 mm dia fire hydrant pipe line | Item33 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
36 | Dismantiling of existing 100 mm dia fire hydrant pipe line | Item34 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
37 | Dismantiling of existing 80 mm dia fire hydrant pipe line | Item35 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
38 | Supply of 15 mtr. Hose pipe for hydrant point with male female stainless steel adaptors | Item36 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
39 | Supply of 30 mtr. Hose pipe for hydrant point with male female stainless steel adaptors | Item37 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
40 | 63mm branch pipe fire nozzle in SS, size 0.5". Make: Atasi/Getech/Firechief/Newage/Padmini. | Item38 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
41 | 63mm,30 mtr Rubberized RRL fire hose pipe with male female socket on both ends,IS12585,Type 11,WP:10kg/cm2.Make : Make: Atasi/Getech/Firechief/Newage/Padmini. | Item39 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
42 | 63mm female socket (coupler) in SS. | Item40 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
43 | Fire hydrant valve operation wheel in wrought iron, OD 36 cm | Item41 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
44 | Fire hydrant valve operation wheel in wrought iron, OD 27 cm | Item42 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
45 | Fire hydrant valve operation wheel in wrought iron, OD 15 cm | Item43 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
46 | 80% Neoprene rubber gasket sheet,thickness 5mm | Item44 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
47 | 80% Neoprene rubber gasket sheet,thickness 3mm | Item45 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
48 | 20 mm hose reel pipe steel nozzle with 3mm dia jet, best quality. | Item46 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
49 | 20 mm hose reel pipe plastic nozzle with 3mm dia jet, best quality. | Item47 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
50 | 20 mm, 30 mtrs PVC hose reel pipe drum complete assembly with nozzle, best quality.Make: Atasi/Getech/Firechief/Newage/Padmini. | Item48 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
51 | Jublee clamp 1.25" | Item49 | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
52 | Jublee clamp 0.5" | Item50 | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
53 | Pressure switch, 10-55 psi & 6-108psi, differential range 0.7-4bar & 0.2-7.5bar. Make : Denfos, Model : KP35 | Item51 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
54 | Bourdon pressure guage,size 4", range 14-200,glycerin filled,SS casing. Make : Guru/Akvalo/Basumer | Item52 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
55 | I Nut Bolt for 80mm gate valve stuffing box/gland plate | Item53 | 100 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
56 | Hose reel nozzle lock cylindrical assembly in SS | Item54 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
57 | Single head,fire hydrant landing valve in SS complete assembly, size 63mm | Item55 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
58 | Mechanical seal for 72 HP water pump | Item56 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
59 | Mechanical seal for 75 HP water pump | Item57 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
60 | Mechanical seal for 15 HP water pump | Item58 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
61 | Mechanical seal for 10 HP water pump | Item59 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
62 | Repair of fire hydrant line point(small hole) leakage by welding of small iron patch at one leakage spot.. | Item60 | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
63 | 6" butterfly valve | Item61 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
64 | 4" butterfly valve | Item62 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
65 | Digital Ampere meter 0-200 A rating | Item63 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
66 | Pump purge cock for centrifugal pump with 100 Hp motor. | Item64 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
67 | Digital Volt meter 0-200 A rating | Item65 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
68 | Providing and fixing of anti corrosive pipe protection tape (2-3 mm) over C class MS pipe including adhesive,japan paint, all complete. | Item66 | 30 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
69 | Laying, testing & commissioning of 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation & providing cement concrete blocks as supports, anticorrosive treatment with coaltar/asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required.
70 | 150 mm dia | Item67 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
71 | 100 mm dia | Item68 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
72 | 80 mm dia | Item69 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
73 | Laying, testing & commissioning of 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc.on surface including welding, of following sizes complete as required.
74 | 150 mm dia | Item70 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
75 | 100 mm dia | Item71 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
76 | 80 mm dia | Item72 | 100 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
77 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :
78 | 80 mm dia | Item73 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
79 | 100 mm dia | Item74 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
80 | 150 mm dia | Item75 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
81 | Providing, installation, testing and commissioning of non-return valve of following sizes confirming to IS: 5312 complete with rubber gasket, GI bolts, nuts, washers etc.as required :
82 | 80mm dia | Item76 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
83 | 100mm dia | Item77 | 10 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
84 | Pressure guage SS casing, glycerine filled 100 mm dia, 0-10 KG pressure range with fittings like hexa nipple, elbow, valve, etc | Item78 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
85 | Pressure guage 0-14 kg/cm2 , dia 4 inch, SS Bourdon, conn-3/8",glycerine filled. Make : Akvalo/Basumer/H-Guru.(Fixing in scope of AMC) | Item79 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
86 | Hexa nipple, SS, 3/8", C class | Item80 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
87 | Elbow, MS, 3/8", C class | Item81 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
88 | Ball valve, GM, DN-10, Heavy duty | Item82 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
89 | Service valve rubber ring seal connecting to hose pipe | Item83 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
90 | Hydrant hose pipe fixing lock in SS | Item84 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
91 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge.
92 | All kinds of soil | Item85 | 100 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
93 | Pressure Switch cut in cut out type.Range : 0 to 7.5 bar,0 to 108 PSIG,Diff. Pressure 0.7 to 4 bar,10-55 PSIG,KP-35.Make : Danfoss | Item86 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
94 | Rubber gasket
95 | 200 mm dia | Item87 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
96 | 150 mm dia | Item88 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
97 | 100 mm dia | Item89 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
98 | 80 mm dia | Item90 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
99 | Sprinkler. Make : HD,Tyco,Agni. | Item91 | 40 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
100 | Gate valve 25mm | Item92 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
101 | Air release valve for air vessel. | Item93 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
102 | Rubber gasket for fire hydrant box glass. | Item94 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
103 | P/f Weather proof cabinet (hose box) 600 mm x 600 mm x 450 mm, in MS,painted. | Item95 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
104 | Gong bell | Item96 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
105 | Hammer box,red colour with front glass & hammer 2 kg. | Item97 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information