## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <Annual Maintenance Contract of 66/11 KVA Sub Station at IISER Mohali>
Contract No: <IISER/EE-EO/Estimate-P/20-21/01>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sr. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE INCLUSIVE OF GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 7 | 8
1 | Annual maintenance and repair of 66/11 KV electrical sub station having the following:- 66/11 KV , 6.3/8 MVA three phase power transformer (2 nos), 72.5 KV 31.5 KA 1600 Amp SF6 ckt breaker (3 nos), 72.5 KV 31.5 KA 1250 Amp isolators without earthswitch (6 nos), 72.5 KV 31.5 KA 1250 Amp isolators with earthswitch (1 nos), 60 KV ZnO surge arresters (gapless) (9 nos), Instrument transformers : 72.5 KV 31.5 KA CTs of ratio 300-150/1-1 accuracy class 0.2,0.2 ,burden 20VA,20VA( 3 nos), 72.5 KV 31.5KA CTs of ratio 150-75/1-1-1-1 of accuracy class 0.2, PS,PS,PS, burden 20VA, 20VA,20VA,20 VA (6 nos), 72.5 KV PTs of ratio 66KV√3, 110V/√3,110V/√3 of accuracy class 0.2,0.2 burden 50VA, 50VA (3 nos), 72.5 KV PTs of ratio 66KV/√3,110V/√3, 110V/√3 of accuracy class 0.2-3P,0.2-3P, burden 50VA,50VA (6 nos), Power cables (Aluminium,armoured): 11KV (earthed) XLPE 3C X 185 Sq mm (600 mtr), 11KV (earthed) XLPE 3C X 35 Sq mm(75 mtr), 1.1 KV XLPE 3.5C X 70 Sq mm (150 mtr), 1.1 KV XLPE 3.5C X 25 Sq mm (100 mtr), 1.1 KV XLPE 4 X 6 Sq mm (800 mtr), 1.1 KV XLPE 1 X 10 Sq mm (50 mtr), FRLS Control cables (copper,armoured): 12C X 4 Sq mm (1000 mtr), 10 C X 2.5 Sq mm (400 mtr), 4C X 4 Sq mm (1500 mtr), 4C X 2.5 Sq mm (500 mtr), 12 KV 12 Panel VCB switch board (1 set), 220V 100Ah battery (1 set), 10A/20A battery charger for 220V,100Ah battery. (1 set), 11/0.4,63 KVA dry type station transformer (1 set), 25KVA, 3 Phase DG set with sound proof enclosure (1 set), LT Switchgear: 415V ACDB (1 set), 200V DCDB (1 set), 72.5 KV Control & Relay panel: Incoming line panel (1 nos), Transformer panel (2 Nos), Switchyard erection material like conductor, earth electrode, earth mesh of complete switch yard and earthing connection to all equipments, lightning protection of switchyard (earth wire screen) disc insulators, hardware fitting, connectors, fire fighting system of transformers. Gantry towers and beams for switchyard and equipment and support structure for all equipments: Bay marshalling kiosks (3 nos).' | item1 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Annual maintenance and repair of 66/11 KV electrical sub station having the following:- 66/11 KV , 6.3/8 MVA three phase power transformer (2 nos), 72.5 KV 31.5 KA 1600 Amp SF6 ckt breaker (3 nos), 72.5 KV 31.5 KA 1250 Amp isolators without earthswitch (6 nos), 72.5 KV 31.5 KA 1250 Amp isolators with earthswitch (1 nos), 60 KV ZnO surge arresters (gapless) (9 nos), Instrument transformers : 72.5 KV 31.5 KA CTs of ratio 300-150/1-1 accuracy class 0.2,0.2 ,burden 20VA,20VA( 3 nos), 72.5 KV 31.5KA CTs of ratio 150-75/1-1-1-1 of accuracy class 0.2, PS,PS,PS, burden 20VA, 20VA,20VA,20 VA (6 nos), 72.5 KV PTs of ratio 66KV√3, 110V/√3,110V/√3 of accuracy class 0.2,0.2 burden 50VA, 50VA (3 nos), 72.5 KV PTs of ratio 66KV/√3,110V/√3, 110V/√3 of accuracy class 0.2-3P,0.2-3P, burden 50VA,50VA (6 nos), Power cables (Aluminium,armoured): 11KV (earthed) XLPE 3C X 185 Sq mm (600 mtr), 11KV (earthed) XLPE 3C X 35 Sq mm(75 mtr), 1.1 KV XLPE 3.5C X 70 Sq mm (150 mtr), 1.1 KV XLPE 3.5C X 25 Sq mm (100 mtr), 1.1 KV XLPE 4 X 6 Sq mm (800 mtr), 1.1 KV XLPE 1 X 10 Sq mm (50 mtr), FRLS Control cables (copper,armoured): 12C X 4 Sq mm (1000 mtr), 10 C X 2.5 Sq mm (400 mtr), 4C X 4 Sq mm (1500 mtr), 4C X 2.5 Sq mm (500 mtr), 12 KV 12 Panel VCB switch board (1 set), 220V 100Ah battery (1 set), 10A/20A battery charger for 220V,100Ah battery. (1 set), 11/0.4,63 KVA dry type station transformer (1 set), 25KVA, 3 Phase DG set with sound proof enclosure (1 set), LT Switchgear: 415V ACDB (1 set), 200V DCDB (1 set), 72.5 KV Control & Relay panel: Incoming line panel (1 nos), Transformer panel (2 Nos), Switchyard erection material like conductor, earth electrode, earth mesh of complete switch yard and earthing connection to all equipments, lightning protection of switchyard (earth wire screen) disc insulators, hardware fitting, connectors, fire fighting system of transformers. Gantry towers and beams for switchyard and equipment and support structure for all equipments: Bay marshalling kiosks (3 nos).' | item1 | 1 | Job
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | Total in Figures |  |  |  |  | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE! | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | #VALUE! | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information