## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <Repair and modification in Dr V Ananth SEM lab at IISER Mohali>
Contract No: <IISER/EE-EO/Estimate-P/20-21/04>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sr. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE INCLUSIVE OF GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 7 | 8
1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item1 | 1.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item1 | 1.5 | cum
2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.1 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | item2 | 0.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2.1 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | item2 | 0.5 | cum
3 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | [53 empty] | 3 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
3.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | item3 | 1 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | item3 | 1 | cum
4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item4 | 1 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 4.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item4 | 1 | cum
5 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 5 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
5.1 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item5 | 100 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 5.1 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item5 | 100 | Kg
6 | S/I/T/C of existing chiller unit | item6 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 6 | S/I/T/C of existing chiller unit | item6 | 1 | Job
7 | Chilling unit installation with the help of crain for lifting the existing unit and re installation at designated place including p/f of vibration pads (16 nos) with GI sheet all complete as per direction of Engineer in Charge | item7 | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 7 | Chilling unit installation with the help of crain for lifting the existing unit and re installation at designated place including p/f of vibration pads (16 nos) with GI sheet all complete as per direction of Engineer in Charge | item7 | 1 | Job
8 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water SS 304 piping inside the building (with necessary clamps, vibration isolators, SS flanges and SS fittings, SS nut bolts, neprenere rubber gasket but excluding valves, strainers, gauges etc.) duly insulated with following closed cell elastometric nitrile rubber of minimum 45 Kg / cu m density, thermal conductivity 0.037 W/MK or better at 20 deg mean temperature class 'O' insulation applied by suitable adhesive complete including repairing of damage to building etc. as per specifications and as required complete in all respect. Make Jindal (Hissar) | [53 empty] | 8 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water SS 304 piping inside the building (with necessary clamps, vibration isolators, SS flanges and SS fittings, SS nut bolts, neprenere rubber gasket but excluding valves, strainers, gauges etc.) duly insulated with following closed cell elastometric nitrile rubber of minimum 45 Kg / cu m density, thermal conductivity 0.037 W/MK or better at 20 deg mean temperature class 'O' insulation applied by suitable adhesive complete including repairing of damage to building etc. as per specifications and as required complete in all respect. Make Jindal (Hissar)
8.1 | 65 mm dia main line | item8 | 18 | rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 8.1 | 65 mm dia main line | item8 | 18 | rmt
8.2 | 50 mm dia pump and AHU connection | item9 | 18 | rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 8.2 | 50 mm dia pump and AHU connection | item9 | 18 | rmt
9 | BUTTERFLY VALVE flanged type(MANUAL) with SS 304 body SS Disc, Nuprene Rubber Seal & O- Ring PN 16 pressure rating for chilled water/hot eater circulation as specified Castle/ Advance/ Uttam/ AUDCO | [53 empty] | 9 | BUTTERFLY VALVE flanged type(MANUAL) with SS 304 body SS Disc, Nuprene Rubber Seal & O- Ring PN 16 pressure rating for chilled water/hot eater circulation as specified Castle/ Advance/ Uttam/ AUDCO
9.1 | 65mm | item10 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 9.1 | 65mm | item10 | 2 | No
9.2 | 50mm | item11 | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 9.2 | 50mm | item11 | 8 | No
10 | NON - RETURN VALVE flanged with dual plate of SS 304 body SS plates vulcanized NBR seal flanged end & PN 16 pressure rating as specified.. Make Advance/ Audco/ Castle/ UTTAM | [53 empty] | 10 | NON - RETURN VALVE flanged with dual plate of SS 304 body SS plates vulcanized NBR seal flanged end & PN 16 pressure rating as specified.. Make Advance/ Audco/ Castle/ UTTAM
10.1 | 50 mm dia pump connection | item12 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 10.1 | 50 mm dia pump connection | item12 | 2 | No
11 | Y - STRAINER flanged type of Ductile SS 304 Body flanged ends with fine stainless steel mesh (strainer) for chilled / hot water circulation including insulation as specified. Castle/ Advance/ Uttam/ Audco | [53 empty] | 11 | Y - STRAINER flanged type of Ductile SS 304 Body flanged ends with fine stainless steel mesh (strainer) for chilled / hot water circulation including insulation as specified. Castle/ Advance/ Uttam/ Audco
11.1 | 50 mm | item13 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 11.1 | 50 mm | item13 | 2 | Nos
12 | P/f of 25 mm brass Flow switch/ pressure switch operating at 3-4 sqcm water pressure. Make Fireware/ safetygear | item14 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 12 | P/f of 25 mm brass Flow switch/ pressure switch operating at 3-4 sqcm water pressure. Make Fireware/ safetygear | item14 | 1 | No
13 | P/f of SS 304 fittings like socket, hexa nipple, 3/8" ball valve for installation of pressure and temperature guages | item15 | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 13 | P/f of SS 304 fittings like socket, hexa nipple, 3/8" ball valve for installation of pressure and temperature guages | item15 | 4 | No
14 | S/I/T/C of Chilled Water Pumps having bronze impeller and mechanical seal type with fitings 3HP (1W+1S) Kirloskar Model no 325/2800 RPM Pressure 3-4 Kg or equivalent capacity in other make Crompton Greaves/ Grundfuss | item16 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 14 | S/I/T/C of Chilled Water Pumps having bronze impeller and mechanical seal type with fitings 3HP (1W+1S) Kirloskar Model no 325/2800 RPM Pressure 3-4 Kg or equivalent capacity in other make Crompton Greaves/ Grundfuss | item16 | 2 | No
15 | Controls for AHU comprising of three way mixing valve with modulating motor, proportionate thermostat and operational contriling with lab temperature and RH. Make Honeywell/ Siemens | [53 empty] | 15 | Controls for AHU comprising of three way mixing valve with modulating motor, proportionate thermostat and operational contriling with lab temperature and RH. Make Honeywell/ Siemens
15.1 | 50mm | item17 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 15.1 | 50mm | item17 | 1 | No
16 | Providing and fixing of dial type temperature guage 0-50 degree centigrate Make Zeel, capilary length 3 mtr, dial size 100 mm with brass/ SS 304 thermowell | item18 | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 16 | Providing and fixing of dial type temperature guage 0-50 degree centigrate Make Zeel, capilary length 3 mtr, dial size 100 mm with brass/ SS 304 thermowell | item18 | 4 | No
17 | Existing panel modification (contactor with relay, indicator, isolator 03 numbers each) for pump and chilling unit (24 TR) and interlocking with AHU | item19 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 17 | Existing panel modification (contactor with relay, indicator, isolator 03 numbers each) for pump and chilling unit (24 TR) and interlocking with AHU | item19 | 1 | No
18 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water SS piping inside the building (with necessary clamps, vibration isolators, flanges and fittings but excluding valves, strainers, gauges etc.) duly insulated with following closed cell elastometric nitrile rubber of minimum 45 Kg / cu m density, thermal conductivity 0.037 W/MK or better at 20 deg mean temperature class 'O' insulation applied by suitable adhesive complete including repairing of damage to building etc. as per specifications and as required complete in all respect. | [53 empty] | 18 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water SS piping inside the building (with necessary clamps, vibration isolators, flanges and fittings but excluding valves, strainers, gauges etc.) duly insulated with following closed cell elastometric nitrile rubber of minimum 45 Kg / cu m density, thermal conductivity 0.037 W/MK or better at 20 deg mean temperature class 'O' insulation applied by suitable adhesive complete including repairing of damage to building etc. as per specifications and as required complete in all respect.
18.1 | 25 mm dia taping | item20 | 60 | rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 18.1 | 25 mm dia taping | item20 | 60 | rmt
19 | P/f of 25 mm SS 304 ball valve flanged/ threaded. Make Zoloto/ Audoco | item21 | 12 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 19 | P/f of 25 mm SS 304 ball valve flanged/ threaded. Make Zoloto/ Audoco | item21 | 12 | No
20 | P/f of 25mmSS 304 disc type NRV flanged/ threaded | item22 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 20 | P/f of 25mmSS 304 disc type NRV flanged/ threaded | item22 | 2 | No
21 | Y - STRAINER 25 mm of SS 304 Body flanged ends with stainless steel strainer for chilled / hot water circulation including insulation and union connection as specified. Castle/ Advance/ Uttam | item23 | 2 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 21 | Y - STRAINER 25 mm of SS 304 Body flanged ends with stainless steel strainer for chilled / hot water circulation including insulation and union connection as specified. Castle/ Advance/ Uttam | item23 | 2 | nos
22 | P/f of flexible connections for lab equipment with SS flexible pipe of length 3 mtr (aapx) with socket, hexa nipple, 3/8" SS ball valve | item24 | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 22 | P/f of flexible connections for lab equipment with SS flexible pipe of length 3 mtr (aapx) with socket, hexa nipple, 3/8" SS ball valve | item24 | 8 | No
23 | P/f of pressure switch of 3/8" with SS 304 ball valve, SS 304 socket, SS 304 hexa nipple operating 3-4 kg/sqcm water pressure | item25 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 23 | P/f of pressure switch of 3/8" with SS 304 ball valve, SS 304 socket, SS 304 hexa nipple operating 3-4 kg/sqcm water pressure | item25 | 1 | No
24 | Providing and fixing of Pressure guages Make H Guru/WIKA with Hexa nipple ISI standard | item26 | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 24 | Providing and fixing of Pressure guages Make H Guru/WIKA with Hexa nipple ISI standard | item26 | 4 | No
25 | S/I/T/C of Chilled Water Pumps having bronze impellor and mechanical seal with fitings 1HP Kirloskar 2800 RPM Pressure 3-4 Kg or equivalent capacity in other make Crompton Greaves/ Grundfuss | item27 | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 25 | S/I/T/C of Chilled Water Pumps having bronze impellor and mechanical seal with fitings 1HP Kirloskar 2800 RPM Pressure 3-4 Kg or equivalent capacity in other make Crompton Greaves/ Grundfuss | item27 | 2 | No
26 | Supply, Installation, Testing and Commissioning of heavy duty Chilled water coil header type having copper tubes and aluminium fills 6 row 45"x42"x8" with SS 304 header specially design for 6500 CFM AHU obtainable 1.4 due point including dismantling of already installed old coil. | item28 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 26 | Supply, Installation, Testing and Commissioning of heavy duty Chilled water coil header type having copper tubes and aluminium fills 6 row 45"x42"x8" with SS 304 header specially design for 6500 CFM AHU obtainable 1.4 due point including dismantling of already installed old coil. | item28 | 1 | No
27 | Make up PVC tank 500 ltr with suitable MS frame with 3/4" float ball and necessary piping of 12 mm (7 mtr) to the buffer tank | item29 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 27 | Make up PVC tank 500 ltr with suitable MS frame with 3/4" float ball and necessary piping of 12 mm (7 mtr) to the buffer tank | item29 | 1 | No
28 | P/f of 4 core 50 sqmm aluminium armoured cable | item30 | 35 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 28 | P/f of 4 core 50 sqmm aluminium armoured cable | item30 | 35 | mtr
29 | P/f of 4 core 2.5 sqmm copper conductor armoured cable | item31 | 30 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 29 | P/f of 4 core 2.5 sqmm copper conductor armoured cable | item31 | 30 | mtr
30 | P/f of SS 304 grade buffer tank including making of two nos of flanged connections of 50mm dia for inlet and outlet. Two flanged or threaded connections of 25 mm dia for inlet and outlet. One connection for float valve. Top cover must be 400 mm dia with SS 304 nuts and bols with rubber gasket | item32 | 250 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 30 | P/f of SS 304 grade buffer tank including making of two nos of flanged connections of 50mm dia for inlet and outlet. Two flanged or threaded connections of 25 mm dia for inlet and outlet. One connection for float valve. Top cover must be 400 mm dia with SS 304 nuts and bols with rubber gasket | item32 | 250 | KG
31 | P/f of nitrile rubber insulation 25 mm thick for water make up tank over polythene sheet and aluminium cladding with 0.6mm thickness aluminium sheet | item33 | 15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 31 | P/f of nitrile rubber insulation 25 mm thick for water make up tank over polythene sheet and aluminium cladding with 0.6mm thickness aluminium sheet | item33 | 15 | sqm
32 | Water softner unit having 500 ltr capacity of size 8"x35" | item34 | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 32 | Water softner unit having 500 ltr capacity of size 8"x35" | item34 | 1 | No
33 | P/f of 10 micron water filter SS 304L body containing 3 sliding filter candles having size 12"x30" with 25 mm dia stub connection (inlet and outlet) or flanged in chilled water line. | item35 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 33 | P/f of 10 micron water filter SS 304L body containing 3 sliding filter candles having size 12"x30" with 25 mm dia stub connection (inlet and outlet) or flanged in chilled water line. | item35 | 2 | Nos
34 | Ethelyne Glycol specific gravity 1.1/ 1.2 | item36 | 50 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 34 | Ethelyne Glycol specific gravity 1.1/ 1.2 | item36 | 50 | Kg
Total in Figures | [51 empty] | 0 | 0 | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information