## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <P/f of filtration accessories in Research labs at IISER Mohali at IISER Mohali.>
Contract No: <IISER/EE-EO/Estimate-P/20-21/07
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with Inclusive of GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 8 | 9
1 | Providing and installation of Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-500, No of pleets-38, Neoprene gasket pasting at inside of air, Size-305x305x150mm, All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item1 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-500, No of pleets-38, Neoprene gasket pasting at inside of air, Size-305x305x150mm, All sides should be sealed with epoxy | item1 | 2 | Nos
2 | Providing and installation ofRoom's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-2000, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x150mm. All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item2 | 18 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-2000, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x150mm, All sides should be sealed with epoxy | item2 | 18 | Nos
3 | Providing and installation of room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-2200, No of pleets-98+, Neoprene gasket pasting at inside of air, Size-915x610x150mm. All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item3 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-2200, No of pleets-98+, Neoprene gasket pasting at inside of air, Size-915x610x150mm, All sides should be sealed with epoxy | item3 | 6 | Nos
4 | Providing and installation of 'Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-1500, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x305mm, All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item4 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 4 | Room's Hepa Filter Box Type Hepa filter (Bottom loading), dust count-0.3u, efficiency-99.99%, Frame-aluminum, CFM-1500, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x305mm, All sides should be sealed with epoxy | item4 | 6 | Nos
5 | Providing and installation of Room's Hepa Filter Hepa filter (Flange type), Flange height 25 mm, dust count-0.3u, efficiency-99.99%, Frame-aluminum, 12 elliptical holes having size 12-15 mm, CFM-2000, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x305mm, All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item5 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 5 | Room's Hepa Filter Hepa filter (Flange type), Flange height 25 mm, dust count-0.3u, efficiency-99.99%, Frame-aluminum, 12 elliptical holes having size 12-15 mm, CFM-2000, No of pleets-72+, Neoprene gasket pasting at inside of air, Size-610x610x305mm, All sides should be sealed with epoxy | item5 | 10 | Nos
6 | Providing and installation of Room's Hepa Filter Hepa filter (Flange type), Flange height 25 mm, dust count-0.3u, efficiency-99.99%, Frame-aluminum, 10 elliptical holes having size 12-15 mm, CFM-1000, No of pleets-38+, Neoprene gasket pasting at inside of air, Size-610x305x305mm, All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item6 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 6 | Room's Hepa Filter Hepa filter (Flange type), Flange height 25 mm, dust count-0.3u, efficiency-99.99%, Frame-aluminum, 10 elliptical holes having size 12-15 mm, CFM-1000, No of pleets-38+, Neoprene gasket pasting at inside of air, Size-610x305x305mm, All sides should be sealed with epoxy | item6 | 2 | Nos
7 | Providing and installation of Micro Filter Size-610x305x305mm(FT), Frame-aluminum, Grade- 5u to 0.5u, Flange Height-25mm, No of holes on flange-04 nos elliptical of size 12x15 mm, Media- Fiber woven yarn, Efficiency- 97.5%. Backside aluminium mesh lapping on the media, Comb type 2 nos support. All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item7 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 7 | Micro Filter Size-610x305x305mm(FT), Frame-aluminum, Grade- 5u to 0.5u, Flange Height-25mm, No of holes on flange-04 nos elliptical of size 12x15 mm, Media- Fiber woven yarn, Efficiency- 97.5% Backside aluminium mesh lapping on the media, Comb type 2 nos support, All sides should be sealed with epoxy | item7 | 2 | Nos
8 | Providing and installation of Micro Filter Size-610x610x305mm(FT), Frame-aluminum, Grade- 5u to 0.5u, Flange Height-25mm, No of holes on flange-08 nos elliptical of size 12x15 mm, Media- Fiber woven yarn, Efficiency- 97.5%, Backside aluminium mesh lapping on the media, Comb type 2 nos support, All sides should be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item8 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 8 | Micro Filter Size-610x610x305mm(FT), Frame-aluminum, Grade- 5u to 0.5u, Flange Height-25mm, No of holes on flange-08 nos elliptical of size 12x15 mm, Media- Fiber woven yarn, Efficiency- 97.5%, Backside aluminium mesh lapping on the media, Comb type 2 nos support, All sides should be sealed with epoxy | item8 | 10 | Nos
9 | Providing and installation of Pre Filter Box Type Frame-aluminum, Size-610x610x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item9 | 68 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 9 | Pre Filter Box Type Frame-aluminum, Size-610x610x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy | item9 | 68 | Nos
10 | Providing and installation of Pre Filter Box Type Frame-aluminum, Size-610x305x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item10 | 36 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 10 | Pre Filter Box Type Frame-aluminum, Size-610x305x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy | item10 | 36 | Nos
11 | Providing and installation of Pre Filter Box Type Frame-aluminum, Size-305x305x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u. Back side aluminum mesh for support of media & comb type support. All sides to be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item11 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 11 | Pre Filter Box Type Frame-aluminum, Size-305x305x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy | item11 | 8 | Nos
12 | Providing and installation of Pre Filter Box Type Frame-aluminum, Size-810x405x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item12 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 12 | Pre Filter Box Type Frame-aluminum, Size-810x405x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy | item12 | 8 | Nos
13 | Providing and installation of Pre Filter Box Type Frame-aluminum, Size-810x485x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u. Back side aluminum mesh for support of media & comb type support. All sides to be sealed with epoxy. Makes : Spectrum, Thermadyne, American Filters | item13 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 13 | Pre Filter Box Type Frame-aluminum, Size-810x485x50mm, Media- Fiber woven yarn, Efficiency- 97.5%, Grade-10u, Back side aluminum mesh for support of media & comb type support, All sides to be sealed with epoxy | item13 | 10 | Nos
Total in Figures | [51 empty] | #REF! | 0 | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information