## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <Access control system at main entrance of building at IISER Mohali>
Contract No: <IISER/EEEO/EstimateP/20-21/13>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sr. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE INCLUSIVE OF GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 7 | 8
1 | Supply, installation, testing and commissioning of Access Control System complete with all accessories, components, Access Control Software to manage required number of doors. required to make the system full functional and consisting of the following equipments all as specified. | [53 empty] | 1 | Outdoor Unit
1.1 | ACCESS CONTROL SYSTEM | [53 empty] | 3 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.
1.2 | Supply, installation, testing and commissioning of Outside Fingerprint and RF Card based Door Controller with Touch Screen, PoE, Wi-Fi and IP65 Ratings Optical Fingerprint and RF Card based Reader (Card Module is not Included) Support EM Prox, Mifare Smart and HID iCLASS Card Module 3.5" Touch Screen, PoE, IP65 and Wi-Fi and Bluetooth Support Built-In Interfaces Such as USB, Door Lock, Door Sense, Exit Reader, Exit Switch, Ethernet, Aux Input and Output Port Access Control, Time-Attendance and Cafeteria Application 500,000 Events and 9,600 Fingerprint Templates MAKE: MATRIX / MORPHO / INVIXIUM | item1 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 4 | Thickness 0.63 mm sheet | item2 | 105 | Sqmtr
1.3 | Supply, installation, testing and commissioning of Inside Fingerprint and EM Prox Card based Reader Optical Fingerprint and EM Proximity Card based Reader RS-232/RS-485 Interface IP65 Rating Tamper Detection Tri Color LED and Buzzer 12VDC Power Supply through Adaptor or Battery Backup Compatible with any COSEC Door Controllers (Except COSEC DOOR FOT) MAKE: MATRIX / MORPHO / INVIXIUM | item2 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 5 | Thickness 0.80 mm sheet | item3 | 35 | Sqmtr
2 | Software for Fingerprint | [53 empty] | 6 | Supply & Installation of Aluminium Powder coated Aluminium air fixed bar Grill with Volume Control Damper. | item4 | 2 | Sqmtr
2.1 | Supply, installation, testing and commissioning of Common Dongle for COSEC CENTRA. Common Dongle for COSEC CENTRA and SATATYA SAMAS Software Activate COSEC CENTRA, Add-on Software Modules License on MATRIX DONGLE MAKE: MATRIX / MORPHO / INVIXIUM | item3 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 7 | Supply & Installation of Fire retardent Canvas Connection b/w duct & Exhaust blower | item5 | 3 | Nos.
2.2 | Base Platform for COSEC CENTRA Base Platform with 10 Platform Users Mandatory Platform for adding COSEC CENTRA Licenses 10 Default Platform Users, 5 Default Users for each TAM, ACM, ESS, CMM, JPC, FVM, CWM and 1 Default VMM User Compatible with all COSEC Hardware Supports 65,000 Door Controllers MAKE: MATRIX / MORPHO / INVIXIUM | item4 | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 10 | Supply, installation,Testing & Commissioning of Three phase 'DOL' Electrical panel with all safety single phase perventer, OLR, contactor, MCB, push button , indicating lamp | item6 | 3 | Nos.
2.3 | 1000 Platform Users License for COSEC CENTRA Add 1000 Platform Users on COSEC CENTRA PLATFORM Basic Access Control, In-Out Events, and User Enrollment Management Basic In-Out, User Profile Reports Integration with MS SQL, MY SQL, ORACLE, POSTGRE, DB2 Web APIs for Integration with Third Party Application SMS and Email Notification Enterprise Structure and Report SchedularImport User Master Data and Export Event Data Global Policy Configuration MAKE: MATRIX / MORPHO / INVIXIUM | item5 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 11 | 2.5Sqmm 4 core copper Cable up to panel & System with in condute | item7 | 90 | Rmtr
3 | Supply, installation, testing and commissioning of Exit Button. Single gang plastic mounting plate, DPDT. Can be configured with momentary or latching contact status. Makes : Make : Ebelco / Bell / Algatech | item6 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 12 | Supply, Installation, Testing and commissioning of 15" exhaust fan with aluminium louvers heavy duty 1400 RPM, 4 nos of blade single phase with frame including fixing of 150x10mm bolts for mounting exhaust fan frame. Make Crompton Greaves/ Haevells/ Khaitan | item8 | 16 | Nos.
4 | Supply, installation, testing and commissioning of Break Glass unit Makes : Bosch / Honeywell / Lenel | item7 | 15 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 13 | Supply, Installation, Testing and commissioning of 12" exhaust fan with aluminium louvers heavy duty 1400 RPM, 4 nos of blade single phase with frame including fitting in suitable size duct in the window pane size 15"x15" and fitting with 10 micron 15x15x0.50 mm pre filter 10 micron sliding in alumininun channel. Supporting of exhaust duct also to be provided to give adequate strength to bear the vibration of exhaust fan. Make Crompton Greaves/ Haevells/ Khaitan | item9 | 50 | Nos.
5 | Supply, installation, testing and commissioning of Electromagnetic locks, suitable for single leaf door with magnetic contacts & monitored LED Make : Ebelco / Bell / Algatech | item8 | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 14 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item10 | 4 | Sqmtr
6 | Supply, installation, testing and commissioning of Electromagnetic locks, suitable for Double leaf door with magnetic contacts & monitored LED Make : Ebelco / Bell / Algatech | item9 | 13 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 16 | 3 X 2.5 Sq. mm | item11 | 700 | mtrs
7 | Supply, installation, testing and commissioning of Access Control and Monitoring Laptop station with minimum Intel core i5 processor and graphic card,8GB DDR4 SDRAM,1TB SATA HDD 5400 rpm, complete as specified including all the required original OS, Antivirus. Make Dell / HP/ Lenovo | item10 | 1 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 18 | 5/6 A switch | item12 | 68 | nos
8 | Supply, installation, testing and commissioning of 24-Port Gigabit Smart Switch and PoE (192W) Makes : Cisco /Zyxel/Alcatel/ Netgear | item11 | 13 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 19 | 3 pin 5/6 A socket outlet | item13 | 68 | nos
9 | Supply, Installation, Testing & commissioning Outdoor 6U rack for mounting of switch and complete with fan and power strip, PDU, Hardware Mounting Kit, cable manager with suitable clamps/ fixing arrangement etc. as reqd. Make: Comrack/Legrand/Valrack/ Rettal | item12 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 21 | 1 to 1.25" | item14 | 700 | mtrs
10 | Supply, installation, testing and commissioning of cat 6 cable Make Panduit/R&M/Systimax | item13 | 800 | P/Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Supply, Installation, Testing and comissioning of 3 Core Power Cable 1.5 sqmm. Make Finolex /Havel's/ Polycab | item14 | 450 | P/Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Supply, installation, testing & commissioning of PVC Conduit Pipe, 25mm medium, ISI Mark with complete accessories. Make: Diplast/Polyplast | item15 | 600 | P/Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 23 | 3 Module | item15 | 68 | nos
13 | UPS for backup double battery 1KVA min. Make:Emerson/APC/Delta/Microtech | item16 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 25 | 3 Module | item16 | 68 | nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | Total in Figures |  |  |  |  | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE! | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | #VALUE! | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information