## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director IISER Mohali>
Name of Work: <Providing and fixing of Advanced Oxidation Pentplasma (AOP) cell in Animal Facility at IISER Mohali >
Contract No: <IISER/EEEO/EstimateP/21-22/09>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sr. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE INCLUSIVE OF GST In Figures To be entered by the Bidder Rs. P | Excise Duty | GST(%) | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies | Other Taxes If any | IIIrd Party Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [32 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT Inclusive of GST | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 7 | 8
1 | Supply, installation, testing and commissioning of duct mounted Air Purification System with AOP comprising of UVC lamp 254 NM (no ozone) on nanoX coating metallic compound of five metals targeted on Alumninum matrix cell duly enclosed by a poly casing tube, with the capability to produce ionized Hydroxyl oxidizers using plasmoX having in-built multipin ion generator pins (+- ions 10^6) along with ultrasonic radio frequency waves for pest repellancy. The UV-C lamp will be a low-pressure mercury type and of such intensity as to provide minimum performance as listed below. The UV-C lamp will produce only Germicidal UV (by definition this means 99.99% UV-C energy). The cell will have built in LED indication system stating the operation of the 3 technologies the UV lamp, ionizer and pest repellant. The AOP cell shal be capable of removing the Particulate matter, Gasous Contamination as well as Microbial Contamination as per ISHRAE. The power / control cabling between the Pentagon units and the power source / controls shall be included in the cost .The wattage of the lamp shall not be less than 21 watts upto and length not less than 436 MM upto 6500 CFM and a minmum of 48 watts upto 28000 CFM or combination based on the application area. The system shall be capable of reducing microbial bacteria, virus and spores , VoC’, odors and particulates matter. The equipment shall have to CE, ISO 13485, ROHS with 2014/35/EU Low Voltage Directive along with FDA compliance certifications. The AOP cell shall a microbiological testing report against Bacteriophage (MS-2 FDA) surrogate SARS Cov-2 with a minimum efficiency of 99 percent along with a Virology report from ICMR approved lab with an minimum efficiency of 99 percent against SARS COV2 within 45 minutes. The specific certifications shall be submitted along with the technical submital. The failure to submit the certifications along with the submital shall lead to rejection of the product. The AOP cells should be selected by considering a load factor calculation for each specific area where the equipment is to be installed. The Cells Should be complete with Transformers, control cabling and Plug Top & necessary power cable. The units shall be 100 percent manufacturered in India. Vendor to comply all Tender Specifications. Make- | [53 empty] | 1 | Supply, installation, testing and commissioning of duct mounted Air Purification System with AOP comprising of UVC lamp 254 NM (no ozone) on nanoX coating metallic compound of five metals targeted on Alumninum matrix cell duly enclosed by a poly casing tube, with the capability to produce ionized Hydroxyl oxidizers using plasmoX having in-built multipin ion generator pins (+- ions 10^6) along with ultrasonic radio frequency waves for pest repellancy. The UV-C lamp will be a low-pressure mercury type and of such intensity as to provide minimum performance as listed below. The UV-C lamp will produce only Germicidal UV (by definition this means 99.99% UV-C energy). The cell will have built in LED indication system stating the operation of the 3 technologies the UV lamp, ionizer and pest repellant. The AOP cell shal be capable of removing the Particulate matter, Gasous Contamination as well as Microbial Contamination as per ISHRAE. The power / control cabling between the Pentagon units and the power source / controls shall be included in the cost .The wattage of the lamp shall not be less than 21 watts upto and length not less than 436 MM upto 6500 CFM and a minmum of 48 watts upto 28000 CFM or combination based on the application area. The system shall be capable of reducing microbial bacteria, virus and spores , VoC’, odors and particulates matter. The equipment shall have to CE, ISO 13485, ROHS with 2014/35/EU Low Voltage Directive along with FDA compliance certifications. The AOP cell shall a microbiological testing report against Bacteriophage (MS-2 FDA) surrogate SARS Cov-2 with a minimum efficiency of 99 percent along with a Virology report from ICMR approved lab with an minimum efficiency of 99 percent against SARS COV2 within 45 minutes. The specific certifications shall be submitted along with the technical submital. The failure to submit the certifications along with the submital shall lead to rejection of the product. The AOP cells should be selected by considering a load factor calculation for each specific area where the equipment is to be installed. The Cells Should be complete with Transformers, control cabling and Plug Top & necessary power cable. The units shall be 100 percent manufacturered in India. Vendor to comply all Tender Specifications. Make-
1.1 | 7200 CFM ( 17" AOP cell to be installed in exhaust air AHU, each equal to 36 watt) | item1 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.1 | 7200 CFM ( 17" AOP cell to be installed in exhaust air AHU, each equal to 36 watt) | item1 | 2 | Nos
1.2 | 6000 CFM (17" AOP cell to be installed in exhaust air AHU, equal to 36 watt) | item2 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.2 | 6000 CFM (17" AOP cell to be installed in exhaust air AHU, equal to 36 watt) | item2 | 2 | Nos
1.3 | 4400 CFM (10" AOP cell to be installed in exhaust air AHU, equal to 36 watt) | item3 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.3 | 4400 CFM (10" AOP cell to be installed in exhaust air AHU, equal to 36 watt) | item3 | 2 | Nos
1.4 | 1000 CFM to 3000 CFM(10" AOP cell to be installed in exhaust air AHU, equal to 21 watt) | item4 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.4 | 1000 CFM to 3000 CFM(10" AOP cell to be installed in exhaust air AHU, equal to 21 watt) | item4 | 10 | Nos
1.5 | 17" AOP cell | item5 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.5 | 17" AOP cell | item5 | 1 | Nos
1.6 | 10" AOP cell | item6 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.6 | 10" AOP cell | item6 | 1 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | Total in Figures |  |  |  |  | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE! | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | #VALUE! | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information