## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority:
Name of Work: <Preparation of labs of Dr Samrat Mukhopadhyay, Dr Vidya Negi and Dr Sadhan C Das at IISER Mohali>
Contract No: <IISER/EE-EO/EstimateP/22-23/02>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with Inclusive of GST In Figures To be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Other Taxes 2 in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Inclusice of GST Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 7 | 8
2 | Supply Installation,Testing &Commissioning of modular type Variable Refrigerant Flow/Variable Refrigerant Volume air cooled Outdoor units suitable for cooling and heating,having all hermetically sealed in vertertype Scroll Compressor(s) ,minimum two compressors for above14HPmodules, microprocessor based Controller,top discharge type condensing unit(s),with R410A Refrigerant,vibration isolators,with suitable foundation etc.complete as required.The unit shall deliver the rated capacity at AHRI Conditions and work even at 50°C ambient temperaturewithouttripping.Theunitshallbesuitabletoworkon400V+/-10%,3Phase,50HzACpowersupply.Theunit shallbefilledwithfirstchargeoftherefrigerantandreadyforuseasrequired.TheCOPatAHRI conditions shall not be less than 3.1 and IEER not less than 6.5 . of 14HP | item1 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Supply of following Double skin Air handling unit with Thermal break, 2 nos DX copper cooling coil (1 working + 1 standby) as per the attached specifications & lifting. Positioning, connecting at all floor.
4 | 900 CFM, 1 coiling coil, Backward curved blower, 110 mm-125 mm static pressure having box type pre filters, fine filters and hepa filters with MS stand | item2 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Supply, assembly erection, Testing and commissioning of AHU VRV kit of following capacity
7 | 14 HP | item3 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | (Supply of Y-joints.) | item4 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Refrigerant Piping
11 | Supply,Installation,testingandcommissioningincludingvaccumiazationandNitrogentestingoffollowingnominalsizesofsoft/harddrawncopperrefrigerantpipingforVRV/VRFsystem,completewithfittings,withsuitableadjustableringtypehangersupports,jointing/brazingincludingaccessories,insulatedwithXPLEClass-Otubularinsulation/withClass-OclosedcellelastometricnitrilerubbertubularsleevessectionsofspecifiedthicknessasgivenbelowforSuctionandLiquidlines,allaccessoriesasperspecifications etc. as required :
12 | 28.58mmdia(OD)(Harddrawn)withtubethickness1.2mmwith19mm thick insulation | item5 | 5 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | 22.2mmdia(OD)(Harddrawn)withtubethickness1.2mmwith19mm thick insulation) | item6 | 5 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | 15.86mmdia(OD)(Softdrawn)withtubethickness1.2mmwith19mm thick insulation | item7 | 20 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | 12.7mmdia(OD)(Softdrawn)withtubethickness1.2mmwith19mm thick insulation | item8 | 5 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | 9.5mmdia(OD)(Softdrawn)withtubethickness1.2mmwith19mmthick insulation | item9 | 20 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Instrumentation cable (copper armoured).
19 | 4 x 16 sqmm | item10 | 25 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | 4x 4 sqmm | item11 | 25 | mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | CONTROL & TRANSMISSION WIRING
22 | Supply, Installation, Testing and Commissioning of control cum transmission wiring of copper wire in suitable PVC conduits between indoor & outdoor units to central remote controllers & for connections between indoor unit to remote control
23 | 6 sq. mm x 4 Core | item12 | 35 | RMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Supplying and drawing of cable Fire Retardant PVC insulated copper conductor cable in the existing surface / recessed steel conduit of following pairs, cores and size including connections and interconnections etc. as required.
25 | speaker cable Two pair, 2-core, 1.5 sqmm | item13 | 85 | RMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Drain Piping
27 | With Following Rigid PVC Piping complete with fittings, supports as per specifications and duly insulated with 6mm thickness of XLPE closed cell nitrile rubber as per direction of Engineer-in-charge & specifications enclosed as reqd.
28 | 32 mm dia | item14 | 15 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Supply, installation, testing and commissioning of Site fabricated sheet metal ducting complete with supports, dampers etc. as per IS 655 and approved drawing and as per specifications of below gauges:
31 | Thickness 0.63 mm sheet | item15 | 85 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class "O") insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required.
33 | Inside the building
34 | 19mm | item16 | 100 | SQMT |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications.. | item17 | 2 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
36 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required.. | item18 | 4 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information