## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority:
Name of Work: <Replacement of console panel, etc in LH-7 of Lecture Hall Complex at IISER Mohali>
Contract No: <IISER/EE-EO/22-23/MISC-06>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with Inclusive of GST In Figures To be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Other Taxes 2 in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Inclusice of GST Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 7 | 8
1 | Supply installation testing & commissioning of LED Profile Light : Light Source: 200W LED, LED Color: WW 2 in 1(150W), DMX 512 Color Rendering Index: Ra 92, Zoom Range: 18°-42°, Strobe: 1-25 times/sec, IP 20, Power Consumption: 220W/320W, Colour Temperature: 3200K, Power Supply: AC 100-260V, 50/60 Hz . Make- bharat stage service/pls/Cana ra lighting | item1 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Supply of Sharpy10r,230 w light beam lamp input power suply 50-60Hz 100-240,power 350-400w. Make bharat stage service/pls/Cana ra lighting | item2 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Supply of 8 Channel DMX Splitter opto osolated RDM enabled DMX Splitter unit complete with power In and safety Fuse , 4 Output channel 3 pin XLR in and out supporting DMX operation as per DMX 512 PROTOCOL with all alied item for erection as per sectification of EIC . Make bharat stage service/pls/Cana ra lighting | item3 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | supply OF Mini Pearl 1024 Channels DMX Controller for Professionals DMX 512 Console for Stage Moving Head Light DJ Lighting, W/Flight Case IMRELAX,1024 DMX channels, 96 fixture, supporting FAT32 USB Memory,10 scenes and 5 built-in shapes are able to output simultaneously; sliders can be used to output scenes and adjust the intensity of the dimmer channels in the scenes.,Compatible with the library in Avolite Pearl R20 format and features built-in shape effects of pan/tilt circle, RGB rainbow, beam dimming wave, etc. Make bharat stage service/pls/Cana ra lighting | item4 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Supply of Wiring for Direct points Using PVC Insulated Finolex 1.5 sqmm 3Core frls Cu. Cond. Cable For 2 socket /box ;starting from the supplied MCB Box/Panel , Having 10ASP MCB s ,to the Lighting bar /tree or stage point : terminated at Junction box with 2xShucko 16 AMP..Socket /per point. Make Havells/ kei/ poly cab | item5 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Supply of OF DMX DATA SIGNAL POINT WIRING : Using 2 core pvc insulated 22AWG Multi standed CU.Cond high speed data cable designed for EIA485 : Lowcapacitance ,twested paie shielded ; FHDPE INSULATION- STARTING FROM DMXSplitter to each Light bar -either sides, side Ladder s and floor point ,as per specification of EIC. Make Rodel /chetan/oci | item6 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information