## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: <Director, IISER Mohali>
Name of Work: <Repair and replacement of faulty 11KV HT related parts in all substations at IISER Mohali>
Contract No: <IISER/AE(E)/24-25/Tender-16>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with Inclusive of GST In Figures To be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Other Taxes 2 in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Inclusice of GST Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 7 | 8
1 | P/f of panel indicators R,Y,B phase in corresponding colors,Rating 220V/24V DC, Make - ABB/ALLIANCE/or eq. | item1 | 86 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | P/f of rackin mechanism for VCB, rating 11 KV , Make - Schneider/ ABB/ Eqv | item2 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | P/f of Closing coil switch for VCB,Rating - 11KV, Make - Schneider/ ABB/ Eqv | item3 | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | P/f of Tripping coil switch for VCB, rating 11 KV , Make - Schneider/ ABB/ Eqv | item4 | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | P/f of Spring mechanism motor for VCB,Rating - 11KV, Make - Schneider/ ABB/ Eqv | item5 | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | P/f of Monoblock for VCB panel, rating 11 KV , Make - Schneider/ ABB/ Eqv | item6 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | P/f of Insulators for 11 KV applications like VCB panel,joint box etc. Rating - 11KV, Make - Schneider/ ABB/ Universal or Eqv | item7 | 75 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Busbar reconditioning of 11 KV panel consisting of 4 to 5 11 KV VCBs with incoming and outgoing HT cables connected, with rust and corrosion removal and buffing of the flashed part, including other allied jobs to maintain appropriate insulation level and conductivity of the 11 KV HT panel bus bars to make it suitable for 11 KV application, including material,labour,testing and commissioning. | item8 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | P/f of HT bus bar sleeves of 2 mm thickness on 11 KV bus bars in panel,Rating - 11KV, Make - Raychem/ 3M or Eqv | item9 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | P/f of hardware kit on bus bar of 8.8 electrical grade, bus bar rating 11 KV , Make - Schneider/ ABB/ Eqv | item10 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Repair work of safety shutter of 11 KV VCB including its checking and realignment, replacement of damaged and broken parts like mechanical parts,shutter portion with new ones as required,complete dismantling and reinstallation, including testing, commissioning. | item11 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | P/f of hardware kit for feeder cover for 11 KV VCB panel,normal LT rating, Make - Schneider/ ABB/ Universal or Eqv | item12 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Reconditioning of 11 KV VCB panel from bus bar and breaker section, including dismantling and connection of bus bars, rust and corrosion removal, buffing of the flashed part, other allied jobs like painting of enclosure to maintain appropriate insulation level and conductivity of the 11 KV HT panel to make it suitable for 11 KV application, including material,labour,testing and commissioning. | item13 | 13 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Reconditioning of 11 KV VCB panel enclosure from cable side, including dismantling and connection of bus bars, rust and corrosion removal, buffing of the flashed part, other allied jobs like painting of enclosure to maintain appropriate insulation level and conductivity of the 11 KV HT panel to make it suitable for 11 KV application, including material,labour,testing and commissioning. | item14 | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | P/f of selector switch RY,YB,BR of rating 220 V, Make - Schneider/ABB/ALLIANCE/or eq. | item15 | 14 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | P/f of Silica gel in transformers suitable for such application. | item16 | 20 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | P/f of Silica gel breather assembly in transformers, capacity 2 kg. | item17 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | P/f of Silica gel breather assembly in transformers, capacity 5 kg. | item18 | 5 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | P/f of space heater for electrical panel with thermostat and wiring as per site condition, 100-120 W rating. | item19 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Supply and installation of VCB, indoor draw out type 11 KV, 630-2500A rating,SCR 31.5 KA for 3 seconds (VD4),3pole,5NO + 5 NC auxillary contacts,12/28/75kVP insulation level,closing coil and tripping coil voltage 110V DC, to be compatible with Crompton Greaves make panel. Make : Crompton Greaves/Kirloskar/ABB | item20 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Supply & installation of new 11KV HT cable junction box for outdoor purposes of dimension 4ft x 2ft x 2.5ft apprx with copper bus bar and HT insulators and Cable inlet & outlet provision with anti rust and and corrosion paint, fixing and grouting in ground , 2 nos 240 sq mm indoor type cable termination, one earthing, all connections, testing, commissioning etc. | item21 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core , XLPE aluminium conductor cable of 11KV grade as required:
22.1 | 240 Sq. mm | item22 | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core , XLPE aluminium conductor cable of 11KV grade as required:
23.1 | 240 Sq. mm | item23 | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I.pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | item24 | 3 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | item25 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | P/f of Main mechanism (EL3 drive complete) of 11KV VCB of Crompton Greaves/Kirloskar make. | item26 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | P/f of Tulip Contact, 40 KA, 1250A,12 Finger for VCB | item27 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | P/f of Terminal block fuse for control, 500VAC, 2A. Make : Schneider/ABB/L&T/CG or eq. | item28 | 110 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | P/f of CT, cast resin window type, CTR:500/5-5A.Make : Alliance/Pragati/Oasis or eq. | item29 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | P/f of PT of PTR:11KV/V3/110/V3/110/V3-110/3V D/O with PT truck assembly deeper unit 1000 mm. Make : Alliance/Pragati/Oasis or eq. | item30 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | P/f of TNC switch for 11 KV VCB panel.Make : L&T/Salzer or eq. | item31 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | P/f of Voltmeter analog type, 0-500V AC. Make : Uxcell/ABB/Unicorn/Alliance or eq. | item32 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | P/f of Ammeter analog type, 0-200A AC. Make : Uxcell/ABB/Unicorn/Alliance or eq. | item33 | 9 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information